## M.I Gen & lines-29-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-29
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
2 | RTPS: U2 | 12:50 (18.10.2021) |  | O/O ASH EVACUATION WORK,LATER ON COAL SHORTAGE
3 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
4 | YTPS: U2 | 17:01 (16.10.2021) |  | O/O TURBINE PROTECTION OPERATED
5 | YTPS: U1 | 16:54 (29.10.2021) |  | O/O BOILER TUBE LEAKAGE
6 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
7 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) | 18:42 (29.10.2021) | Tripped | CHARGED
4 | 220KV-AMBEWADI - PONDA-2 | 17:21 (25.10.2021) |  | Tripped
5 | 400KV-NARENDRA - GUTTUR-2 | 22:01 (28.10.2021) | 10:06 (29.10.2021) | O/O on O/V | CHARGED
6 | 400KV-GUTTUR - HIRIYUR-2 | 21:29 (29.10.2021) | 07:10 (30.10.2021) | O/O on L/C | CHARGED
7 | 315MVA ICT-3 @ Talguppa | 09:43 (29.10.2021) | 18:07 (29.10.2021) | O/O on L/C | CHARGED
8 | 220kV Bidnal-Tadas#1 | 10:39 (29.10.2021) | 14:49 (29.10.2021) | O/O on L/C | CHARGED
9 | 220kV Hubli-NPH#3 | 11:05 (29.10.2021) | 17:30 (29.10.2021) | O/O on L/C | CHARGED
10 | 220kV Hoody-HAL#1&#2 | 11:10 (29.10.2021) | 11:54 (29.10.2021) | Tripped | CHARGED
11 | 220kV NPH-Bidnal | 12:14 (29.10.2021) | 13:10 (29.10.2021) | Tripped | CHARGED
12 | 220V VPH-SMG#2 | 17:17 (29.10.2021) |  | Tripped
13 | 220kV Lingapur-RTPS#1 | 23:33 (29.10.2021) | 23:50 (29.10.2021) | Tripped | CHARGED
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32