## M.I Gen & lines-31-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-31
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U5 | 13:11 (30.08.2021) |  | O/O BOILER TUBE LEAKAGE
3 | RTPS: U3 | 12:38 (27.08.2021) | 16:26 (31.08.2021) | O/O FLAME FAILURE
4 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O FLAME FAILURE
5 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
6 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220kV SMG-STRP | 18:31 (29.08.2021) | 10:35 (31.08.2021) | Tripped | CHARGED
4 | 220kV SGS-TGP#2 | 19:55 (29.08.2021) | 09:20 (31.08.2021) | Tripped | CHARGED
5 | 220kV SMG-DVG | 17:08 (30.08.2021) | 16:10 (31.08.2021) | Tripped | CHARGED
6 | 220kV Y'hally-Hosur | 09:40 (31.08.2021) | 12:30 (31.08.2021) | O/O on L/C | CHARGED
7 | 220kV GTR-Neelgunda | 10:45 (31.08.2021) | 16:37 (31.08.2021) | O/O on L/C | CHARGED
8 | 220kV Hubli-NRN#2 | 11:00 (31.08.2021) | 15:15 (31.08.2021) | O/O on L/C | CHARGED
9 | 220kV SGS-SMG#3 | 11:00 (31.08.2021) | 13:58 (31.08.2021) | O/O on L/C | CHARGED
10 | 220kV Ambewadi-Xeldom | 11:07 (31.08.2021) | 14:04 (31.08.2021) | O/O on L/C | CHARGED
11 | 220kVNPH-Ambewadi#2 | 12:15 (31.08.2021) | 12:40 (31.08.2021) | O/O on L/C | CHARGED
12 | 220kV Ambewadi-Xeldom | 15:07 (31.08.2021) | 16:15 (31.08.2021) | Tripped | CHARGED
13 | 220kV Varahi-kemar#1 | 15:51 (31.08.2021) | 16:01 (31.08.2021) | Tripped | CHARGED
14 | 220kV Hoody-Begur | 15:58 (31.08.2021) |  | Tripped
15 | 220kV Thalak-Hiriyur | 21:14 (31.08.2021) |  | Tripped
18 | 400kV NLM-TGP | 22:22 (31.08.2021) | 07:39 (01.09.2021) | O/O on O/V | CHARGED
19 | 400kV NRN-Guttur#2 | 22:22 (31.08.2021) | 07:39 (01.09.2021) | O/O on O/V | CHARGED
20
21
22
23
24
25
26
27
28