## M.I Gen & lines-01-06-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-06-01
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVED SHUTDOWN
3 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVED SHUTDOWN
4 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U6 | 20:44 (11.05.2021) |  | O/O RESERVED SHUTDOWN
6 | RTPS: U3 | 23:15 (12.05.2021) |  | O/O RESERVED SHUTDOWN
7 | RTPS: U7 | 22:41 (12.05.2021) |  | O/O RESERVED SHUTDOWN
8 | BTPS: U2 | 12:28 (15.05.2021) | 22:13 (01.06.2021) | O/O RESERVED SHUTDOWN
9 | BTPS: U3 | 16:32 (01.06.2021) | 22:23 (01.06.2021) | O/O AUX TFR TRIPPED
10 | RTPS: U4 | 12:17 (15.05.2021) |  | O/O RESERVED SHUTDOWN
11 | RTPS: U5 | 11:02 (15.05.2021) |  | O/O RESERVED SHUTDOWN
12 | RTPS: U1 | 11:56 (16.05.2021) |  | O/O RESERVED SHUTDOWN
13 | RTPS:U8 | 17:18 (22.05.2021) |  | O/O TRIPPED
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 400kV Devanahalli-YNK | 08:35 (12.05.2021) |  | O/O on L/C
4 | 400kV RTPS-Mehaboobnagar | 02:55 (16.05.2021) |  | O/O on O/V
5 | 220kV Sedam-Humnabad | 16:43 (31.05.2021) | 19:29 (01.06.2021) | Tripped
6 | 220kV Belgaum-Chikkodi#1 | 10:39 (01.06.2021) | 13:55 (01.06.2021) | O/O on L/C
7 | 220kV SMG-VPH#1 | 11:15 (01.06.2021) | 11:52 (01.06.2021) | O/O on L/C
8 | 400kV BTPS-HYR#2 | 19:52 (01.06.2021) | 20:54 (01.06.2021) | Tripped
9 | 400kV GTR-BTPS | 20:35 (01.06.2021) | 22:32 (01.06.2021) | O/O on L/C
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29