## M.I Gen & lines-01-09-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-09-01
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD
14 | UPCL: U2 | 01:10 (04.08.2020) |  | O/O-RSD
15 | UPCL: U1 | 11:59 (03.08.2020) |  | O/O TO ACCOMMODATE RE POWER
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
5 | 400kV BPS-Jagalur#1 | 00:50 (18.08.2020) |  | O/O on O/V
6 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
7 | 400kV UPCL-Hassan#2 | 22:34 (30.08.2020) |  | O/O on O/V
8 | 400kV Nelamanagla-Mysore#2 | 00:59 (01.09.2020) |  | O/O on O/V
9 | 220kVGTR-CTD | 05:23 (01.09.2020) | 10:45 (01.09.2020) | O/O on L/C
10 | 220kV D B Pura-NLM#1 | 06:23 (01.09.2020) |  | O/O on L/C
11 | 220kV SMG-A'Hally | 08:36 (01.09.2020) |  | O/O on L/C
12 | 220kV Hubli-Sirsi#1 | 11:34 (01.09.2020) | 16:30 (01.09.2020) | Tripped
13 | 220kV NRN-Hubli#1 | 11:52 (01.09.2020) | 14:57 (01.09.2020) | Tripped
14 | 220kV UPCL-Kemar#2 | 12:27 (01.09.2020) | 15:48 (01.09.2020) | O/O on L/C
15 | 220kV Varahi-SMG#1 | 10:43 (01.09.2020) | 15:35 (01.09.2020) | Tripped
16 | 220kV DVG-SMG | 12:40 (01.09.2020) | 17:20 (01.09.2020) | Tripped
17 | 220kV Kadkola-K'pet | 12:55 (01.09.2020) | 14:32 (01.09.2020) | Tripped
18 | 220kV Hubli-NRN#3 | 15:05 (01.09.2020) | 16:04 (01.09.2020) | O/O on L/C
19 | 400kV NLM-TGP | 19:00 (01.09.2020) | 06:22 (02.09.2020) | O/O on O/V