## M.I Gen & lines-02-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-02
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE
5 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
6 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD LATER ON AOH
7
8
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 220KV-JURALA - RAICHUR_KA-1 | 06:00 (20.01.2021) |  | O/O on L/C
3 | 220KV-JURALA - RAICHUR_KA-2 | 06:00 (20.01.2021) |  | O/O on L/C
4 | 220kV Belgaum-NRN-2 & BGM -chk-1 | 20:25 (31.01.2021) |  | o/o on LC
5 | 220kv Ambewadi-Nar-# 1 | 21:05 (31.01.2021) |  | o/o on Faulty
6 | 400kV Nelamangala- Talaguppa | 00:11 (02.02.2021) | 06:26 (02.02.2021) | O/o on PR
7 | 220kV L'Pura -JSW#1 | 08:49 (02.02.2021) | 17:00 (02.02.2021) | O/o on LC
8 | 220kV VPH-SMG#2 | 09:08 (02.02.2021) | 11:11 (02.02.2021) | O/o on LC
9 | 220kV NPH-Hubli#1 | 10:50 (02.02.2021) | 16:10 (02.02.2021) | O/o on LC
10 | 400kV JSW-BPS#3 | 12:09 (02.02.2021) | 13:54 (02.02.2021) | O/o on LC
11 | 220kV MLPura-Atheni | 12:25 (02.02.2021) | 17:22 (02.02.2021) | O/o on LC for RT works
12 | 220kV L'sur-RTPS#1 | 13:38 (02.02.2021) | 19:35 (02.02.2021) | O/o on LC
13 | 220kV DVG-GTR#1 | 20:30 (02.02.2021) |  | O/o on LC
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29