## M.I Gen & lines-02-03-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-03-02
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | UPCL: U1 | 21:38 (18.02.2021) | 02:14 (02.03.2021) | O/O RSD
5 | YPTS:U1 | 05:23 (21.02.2021) |  | O/O BOILER TUBE LEAKAGE
6 | RTPS: U3 | 12:24 (02.03.2021) | 20:33 (02.03.2021)
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400kV Talaguppa-Hassan | 18:03 (01.03.2021) | 13:14 (02.03.2021) | O/O on LC
4 | 220kV Kadkola-K'pet | 01:05 (02.03.2021) |  | O/O on LC
5 | 220kV Ambeawdi-NRN#1&#2 | 08:00 (02.03.2021) | 18:15 (02.03.2021) | O/O on LC
6 | 220kV Lingapur-Munirabad#3 | 08:50 (02.03.2021) | 18:37 (02.03.2021) | O/O on LC
7 | 220kV V N Pura-A'hally | 12:10 (02.03.2021) | 16:15 (02.03.2021) | Tripped
8 | 220kV Haveri-NRN | 12:14 (02.03.2021) | 12:50 (02.03.2021) | O/O on LC
9 | 220kV TGP-STRP | 12:23 (02.03.2021) | 13:14 (02.03.2021) | Tripped
10 | 220kV Varahi-SMG#2 | 13:07 (02.03.2021) | 18:04 (02.03.2021) | Tripped
11
12
13
14
15
16
17
18
19
20
21
22