## M.I Gen & lines-02.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 02.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS : U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
2 | BTPS : U1 | 20:17 (28.02.2020) |  | O/O - RSD
3 | BTPS : U2 | 15:02 (21.03.2020) |  | O/O - RSD
4 | BTPS : U3 | 13:15 (06.04.2020) |  | O/O - RSD
5 | RTPS : U8 | 07:56 (28.04.2020) |  | Generator Protection Operated
6 | UPCL : U1 | 12:30(30.04.2020) |  | O/O - RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV EPIP-ITPL | 01:59 (13.04.2020) |  | Tripped | Idle charged from ITPL
6 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
7 | 220kV Shahbad-Gulbarga | 19:58 (18.04.2020) |  | Tripped
8 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
9 | 220KV Gbidnoor-HRYR | 15:40 (01.05.2020) |  | O/O on OV
10 | 400KVPavaga-Mysore | 10:23 (29.04.2020) |  | O/O on L/C
11 | 220kV NPH-HUBLI#3 | 10:30(02.05.2020) | 15:51(02.05.2020) | O/O on L/C
12 | 220kVHaveri-Bidnal | 10:56(02.05.2020) | 14:01(02.05.2020) | O/O on L/C
13 | 220kV Haveri-NRN | 10:56(02.05.2020) | 13:28(02.05.2020) | O/O on L/C
14 | 220kV Kadkola-K'pet | 12:53(02.05.2020) | 19:56(02.05.2020) | Tripped
15 | 220kV Savadatti-bidnal | 15:47(02.05.2020) | 18:08(02.05.2020) | Tripped
16 | 220kV Varahi-MRS#3 | 15:51(02.05.2020) | 16:38(02.05.2020) | Tripped
17 | 220kV Lingasugur-Sindanoor | 16:09(02.05.2020) | 16:26(02.05.2020) | Tripped
18 | 220KV RTPS-Lingasugur#2 | 17:18(02.05.2020) | 18:16(02.05.2020) | Tripped
19 | 220kV Nittur-NLM | 18:14(02.05.2020) | 18:24(02.05.2020) | Tripped
20 | 220kV RTPS-Mallat | 18:30(02.05.2020) | 19:45(02.05.2020) | Tripped