## M.I Gen & lines-02-06-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-06-02
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVED SHUTDOWN
3 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVED SHUTDOWN
4 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U6 | 20:44 (11.05.2021) |  | O/O RESERVED SHUTDOWN
6 | RTPS: U3 | 23:15 (12.05.2021) |  | O/O RESERVED SHUTDOWN
7 | RTPS: U7 | 22:41 (12.05.2021) |  | O/O RESERVED SHUTDOWN
8 | BTPS: U2 | 23:03 (02.06.2021) | 04:14 (03.06.2021) | O/O VACCUM PUMP TRIPPED
9 | RTPS: U4 | 12:17 (15.05.2021) |  | O/O RESERVED SHUTDOWN
10 | RTPS: U5 | 11:02 (15.05.2021) |  | O/O RESERVED SHUTDOWN
11 | RTPS: U1 | 11:56 (16.05.2021) |  | O/O RESERVED SHUTDOWN
12 | RTPS:U8 | 17:18 (22.05.2021) |  | O/O TRIPPED
13 | BTPS: U1 | 19:48 (02.06.2021) |  | O/O RESERVED SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 400kV Devanahalli-YNK | 08:35 (12.05.2021) |  | O/O on L/C
4 | 400kV RTPS-Mehaboobnagar | 02:55 (16.05.2021) | 12:17 (02.06.2021) | O/O on O/V
5 | 400KV-GUTTUR - BTPS-1 | 23:31 (02.06.2021) |  | Tripped
6 | 220kV Shahbad-Gulbarga | 05:28 (02.06.2021) | 05:48 (02.06.2021) | Tripped
7 | 220kV VPH-Kemar#1 | 09:06 (02.06.2021) | 13:29 (02.06.2021) | O/O on L/C
8 | 220kV VPH-Kemar#2 | 09:26 (02.06.2021) | 12:37 (02.06.2021) | O/O on L/C
9 | 220kV Sedam-RTPS#1 | 09:19 (02.06.2021) | 17:56 (02.06.2021) | O/O on L/C
10 | 220kV STRP-TGP | 10:01 (02.06.2021) | 12:27 (02.06.2021) | O/O on L/C
11 | 220kV STRP-SMG | 09:50 (02.06.2021) | 12:26 (02.06.2021) | O/O on L/C
12 | 220kV Lingasugur-Shahpur | 19:51 (02.06.2021) |  | Tripped
13 | 400kV GTR-NRN#2 | 20:30 (02.06.2021) | 08:38 (03.06.2021) | O/O on O/V
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29