## M.I Gen & lines-03-03-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-03-03
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | YPTS:U1 | 05:23 (21.02.2021) |  | O/O BOILER TUBE LEAKAGE
5 | BTPS: U3 | 13:06 (03.03.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 220kV Kadkola-K'pet | 01:05 (02.03.2021) |  | O/O on LC
4 | 220kV Narendra -A'wadi #1 & 2 line | 09:02 (03.03.2021) | 18:33 (03.03.2021) | O/O on LC
5 | 220kV Guttur- Davanagere #1Line | 10:57 (03.03.2021) | 11:32 (03.03.2021) | Tripped
6 | 220kV Guttur- Davanagere #2 Line | 13:57 (03.03.2021) | 18:12 (03.03.2021) | Tripped
7 | 220kV Guttur- Davanagere # 3 Line | 13:57 (03.03.2021) | 14:15 (03.03.2021) | Tripped
8 | 220kV Mysore-Hootagally #3line | 12:22 (03.03.2021) | 19:32 (03.03.2021) | O/O On LC
9 | 220kV Mysore-Hootagally #1 line | 14:44 (03.03.2021) | 15:54 (03.03.2021) | O/O On LC
10 | 220kV Shimogga-S'grama line | 13:15 (03.03.2021) | 15:57 (03.03.2021) | Tripped
11 | 220kV SGS-SMG#4 line | 14:30 (03.03.2021) | 19:57 (03.03.2021) | Tripped
12 | 220kV Hoody- Begur | 18:29 (03.03.2021) | 19:25 (03.03.2021) | Tripped
13 | 220kV NAR- Haveri | 20:59 (03.03.2021) | 22:24 (03.03.2021) | o/o on LC
14 | 220kV Somanahally- Y' hally | 16:12 (03.03.2021) | 17:26 (03.03.2021) | Tripped
15
16
17
18
19
20
21
22