## M.I Gen & lines-03-05-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-05-03
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | RTPS: U1 | 05:47 (02.05.2021) |  | O/O BOILER TUBE LEAKAGE
4 | UPCL: U2 | 03:13 (01.05.2021) | 08:02 (03.05.2021) | O/O HEAVY STEAM LEAKAGE
5 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS: U8 | 15:28 (03.05.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
4 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
5 | 220kV Hiriyur-Gowribidnur #1 &2 | 06:39 (01.05.2021) | 21:25 (03.05.2021) | O/o on LC
6 | 220kV Hubli-Narendra #1 | 16:49 (01.05.2021) | 16:37 (03.05.2021) | Tripped
7 | 220kV Narendra-Haveri | 17:26 (01.05.2021) | 13:30 (03.05.2021) | Tripped
8 | 500MVA ICT #1 at Hoody | 09:31 (02.05.2021) | 17:06 (03.05.2021) | O/O on LC
9 | 220kV Bidnal-Haveri | 11:01 (03.05.2021) | 13:01 (03.05.2021) | O/O on LC
10 | 220kV Mysore-Kanakpura#2 | 11:06 (03.05.2021) | 16:22 (03.05.2021) | O/O on LC
11 | 220kV Hubli-Narendra #2 | 11:08 (03.05.2021) | 16:38 (03.05.2021) | O/O on LC
12 | 220kV SGS-SMG#4 | 14:29 (03.05.2021) | 16:48 (03.05.2021) | Tripped
13 | 220kV Ambewadi-NPH#1 | 19:08 (03.05.2021) | 19:57 (03.05.2021) | Tripped
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29