## M.I Gen & lines-03-06-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-06-03
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVED SHUTDOWN
3 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVED SHUTDOWN
4 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U6 | 20:44 (11.05.2021) | 17:21 (03.06.2021) | O/O RESERVED SHUTDOWN
6 | RTPS: U3 | 23:15 (12.05.2021) |  | O/O RESERVED SHUTDOWN
7 | RTPS: U7 | 22:41 (12.05.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U4 | 12:17 (15.05.2021) |  | O/O RESERVED SHUTDOWN
9 | RTPS: U5 | 11:02 (15.05.2021) |  | O/O RESERVED SHUTDOWN
10 | RTPS: U1 | 11:56 (16.05.2021) | 14:28 (03.06.2021) | O/O RESERVED SHUTDOWN
11 | RTPS:U8 | 17:18 (22.05.2021) | 04:23 (04.06.2021) | O/O TRIPPED
12 | BTPS: U1 | 19:48 (02.06.2021) |  | O/O RESERVED SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 400kV Devanahalli-YNK | 08:35 (12.05.2021) |  | O/O on L/C | FOR NORMALISATION OF LINE TO DEVANAHALLI YNK/TKR-YNK
4 | 400KV-GUTTUR - BTPS-1 | 23:31 (02.06.2021) |  | Tripped | TLM INSPECTION UNDERPROGRESS
5 | 220kV Lingasugur-Shahpur | 19:51 (02.06.2021) | 12:30 (03.06.2021) | Tripped | CHARGED
6 | 400KV-BTPS - HIRIYUR-2 | 20:25 (03.06.2021) | 21:32 (02.06.2021) | Tripped on O/V | CHARGED
7 | 400KV-NARENDRA - GUTTUR-2 | 20:04 (03.06.2021) |  | O/O on O/V | KEPT OPEN FOR OVER VOLTAGE
8 | 220KV-AMBEWADI - XELDEM-1 | 11:28 (03.06.2021) | 12:14 (03.06.2021) | Tripped | CHARGED
9 | 400KV-RTPS - BTPS-1 | 04:06 (03.06.2021) | 05:19 (03.06.2021) | O/O on L/C | CHARGED
10 | 220kV SMG-Arasikere | 04:30 (03.06.2021) | 07:40 (03.06.2021) | O/O on L/C | CHARGED
11 | 220kV VPH-SMG#2 | 10:30 (03.06.2021) | 14:30 (03.06.2021) | O/O on L/C | CHARGED
12 | 315 MVA ICT-1 @ TGP | 09:49 (03.06.2021) | 15:02 (03.06.2021) | O/O on L/C | CHARGED
13 | 220kV NRS-Peenya | 11:12 (03.06.2021) | 15:38 (03.06.2021) | O/O on L/C | CHARGED
14 | 315 MVA ICT-2 @ Guttur | 11:48 (03.06.2021) | 12:14 (03.06.2021) | O/O on L/C | CHARGED
15 | 220kV SGS-SMG#4 | 12:32 (03.06.2021) | 17:28 (03.06.2021) | O/O on L/C | CHARGED
16 | 220kV SGS-SMG#1 | 12:56 (03.06.2021) | 14:22 (03.06.2021) | Tripped | CHARGED
17 | 220kV Sirsi-Hubli#2 | 13:39 (03.06.2021) |  | Tripped | TLM INSPECTION UNDERPROGRESS
18 | 220kV Guttur-Ranebennur | 14:16 (03.06.2021) |  | Tripped | TLM INSPECTION UNDERPROGRESS
19 | 220kV Nelamangala-Magadi | 15:01 (03.06.2021) | 16:50 (03.06.2021) | O/O on L/C | CHARGED
20 | 220kV Gadag-Bagalkote#2 | 17:23 (03.06.2021) | 18:53 (03.06.2021) | Tripped | CHARGED
21 | 220kV BTPS-Lingapur | 18:43 (03.06.2021) | 22:04 (03.06.2021) | Tripped | CHARGED
22
23
24
25
26
27
28
29