## M.I Gen & lines-04-03-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-03-04
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | YPTS:U1 | 05:23 (21.02.2021) | 12:30 (04.03.2021) | O/O BOILER TUBE LEAKAGE
5 | BTPS: U3 | 13:06 (03.03.2021) |  | O/O BOILER TUBE LEAKAGE
6 | RTPS: U2 | 23:00 (04.03.2021) |  | O/O BOILER TUBE LEAKAGE
7 | BTPS: U2 | 08:06 (05.03.2021) |  | O/O TURBINE SIDE PROBLEM
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 220kV Kadkola-K'pet | 01:05 (02.03.2021) | 20:44 (04.03.2021) | O/O on LC
4 | 220kV Gopalpura-Shantigrama | 06:30 (04.03.2021) | 15:18 (04.03.2021) | O/O on LC
5 | 220kV Ambewadi-NRN#1&#2 | 08:56 (04.03.2021) |  | O/O on LC
6 | 220kV Dabaspet-Kadur | 10:45 (04.03.2021) | 18:23 (04.03.2021) | O/O on LC
7 | ICT-2 @ Guttur | 10:55 (04.03.2021) | 11:15 (04.03.2021) | Tripped
8 | 220kV C R Patna-Shantigrama | 13:22 (04.03.2021) | 14:56 (04.03.2021) | O/O on LC
9 | 400kV Jindl-BTPS | 11:56 (04.03.2021) | 13:16 (04.03.2021) | O/O on LC
10 | ICT-1&2 @ Guttur | 12:22 (04.03.2021) | 13:27 (04.03.2021) | Tripped
11 | 220kV Guttur-Haveri#2 | 12:22 (04.03.2021) |  | Tripped
12 | 220kV Bastipura-Kushalnagar#1 | 15:45 (04.03.2021) | 17:40 (04.03.2021) | O/O on LC
13 | 220kV Hoody-HAL#2 | 15:43 (04.03.2021) | 16:56 (04.03.2021) | Tripped
14 | 220kV Vajramatti-B'Kote#1 | 16:16 (04.03.2021) | 18:40 (04.03.2021) | O/O on LC
15
16
17
18
19
20
21
22