## M.I Gen & lines-04-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-04
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | RTPS: U3 | 15:32 (04.04.2021) |  | O/O FLAME AT TURBINE
5 | YTPS: U1 | 13:38 (04.04.2021) | 17:20 (04.04.2021) | O/O BOILER TRIPPED
6 | RTPS: U4 | 12:09 (01.04.2021) | 23:05 (04.04.2021) | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped
4 | 400KV-BTPS - JINDAL-1 | 12:53 (28.03.2021) |  | O/O on L/C
5 | 400KV-GUTTUR - JINDAL-1 | 12:54 (28.03.2021) |  | O/O on L/C
6 | 220kV Ambewadi-NRN#1 | 04:13 (04.04.2021) | 18:18 (04.04.2021) | O/O on L/C
7 | 220kV Kadur-D'pet | 09:33 (04.04.2021) | 18:10 (04.04.2021) | O/O on L/C
8 | 220kV Varahi-Kemar#2 | 10:14 (04.04.2021) | 13:00 (04.04.2021) | O/O on L/C
9 | 220kV NRN-BGM#1 | 12:32 (04.04.2021) | 16:18 (04.04.2021) | O/O on L/C
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29