## M.I Gen & lines-04-06-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-06-04
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVED SHUTDOWN
3 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVED SHUTDOWN
4 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U3 | 23:15 (12.05.2021) |  | O/O RESERVED SHUTDOWN
6 | RTPS: U7 | 22:41 (12.05.2021) |  | O/O RESERVED SHUTDOWN
7 | RTPS: U4 | 12:17 (15.05.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U5 | 11:02 (15.05.2021) |  | O/O RESERVED SHUTDOWN
9 | RTPS:U8 | 20:20 (04.06.2021) | 01:05 (05.06.2021) | O/O TRIPPED
10 | BTPS: U1 | 19:48 (02.06.2021) |  | O/O RESERVED SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 400kV Devanahalli-YNK | 08:35 (12.05.2021) |  | O/O on L/C | FOR NORMALISATION OF LINE TO DEVANAHALLI YNK/TKR-YNK
4 | 400KV-GUTTUR - BTPS-1 | 23:31 (02.06.2021) | 17:33 (04.06.2021) | Tripped | TLM INSPECTION UNDERPROGRESS
5 | 400KV-NARENDRA - GUTTUR-2 | 20:04 (03.06.2021) |  | O/O on O/V | KEPT OPEN FOR OVER VOLTAGE
6 | 220kV Sirsi-Hubli#2 | 13:39 (03.06.2021) | 13:15 (04.06.2021) | Tripped | CHARGED
7 | 220kV Guttur-Ranebennur | 14:16 (03.06.2021) | 16:10 (04.06.2021) | Tripped | CHARGED
8 | 400KV-GUTTUR - HIRIYUR-1 | 05:31 (04.06.2021) | 05:57 (04.06.2021) | Tripped | CHARGED
9 | 400KV-BTPS - HIRIYUR-2 | 23:37 (04.06.2021) | 06:24 (05.06.2021) | Tripped | CHARGED
10 | 220kV UPCL-Kemar#1 | 03:28 (04.06.2021) | 04:10 (04.06.2021) | Tripped | CHARGED
11 | 220kV UPCL-Kemar#2 | 03:28 (04.06.2021) | 04:16 (04.06.2021) | Tripped | CHARGED
12 | 220kVGuttur-Chitradurga | 12:36 (04.06.2021) | 16:26 (04.06.2021) | O/O onL/C | CHARGED
13 | 220kV Kemar-UPCL#1 | 13:03 (04.06.2021) | 15:14 (04.06.2021) | O/O onL/C | CHARGED
14 | 220kV Kemar-UPCL#2 | 13:03 (04.06.2021) | 19:35 (04.06.2021) | O/O onL/C | CHARGED
15 | 315MVA ICT-1 @ JSWEL | 15:10 (04.06.2021) | 18:20 (04.06.2021) | O/O onL/C | CHARGED
16 | 220kV Sedam-Shahpur | 15:37 (04.06.2021) | 18:40 (04.06.2021) | Tripped | CHARGED
17 | 500MVA ICT-2 @ Hoody | 17:56 (04.06.2021) |  | Tripped | ICT CHARGED AFTER RT STAFF INSPECTION
18 | 220kV Hoody-HSR | 17:56 (04.06.2021) | 19:45 (04.06.2021) | Tripped | CHARGED
19 | 220kV GTR-DVG#3 | 18:07 (04.06.2021) |  | Tripped | TLM INSPECTION UNDERPROGRESS
20 | 220kV Kadkola-K'betta | 19:31 (04.06.2021) |  | Tripped | TLM INSPECTION UNDERPROGRESS
21
22
23
24
25
26
27
28
29