## M.I Gen & lines-04-08-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 04-08-2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
4 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
5 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
6 | BTPS: U2 | 16:31 (02.06.20200 |  | O/O - RSD
7 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
8 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
9 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
10 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
11 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
12 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
14 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD
15 | UPCL: U2 | 01:10 (04.08.2020) |  | O/O-RSD
16 | UPCL: U1 | 11:59 (03.08.2020) |  | O/O TO ACCOMMODATE RE POWER
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
7 | 400KV/220KV DONI-ICT - 1 | 05:55 (04.08.2020) | 14:53 (04.08.2020) | Tripped
8 | 400KV/220KV RAICHUR_KA-ICT - 2 | 10:17 (04.08.2020) | 16:23 (04.08.2020) | Oil leakage
9 | 400kV UPCL-Hassan#2 | 02:38 (04.08.2020) |  | O/O on O/V
10 | 220kV GTR-Haveri#1&#2 | 12:58 (04.08.2020) | 17:38 (04.08.2020) | Tripped
11 | 220kV VPH-SMG#3 | 12:58 (04.08.2020) | 13:32 (04.08.2020) | Tripped
12 | 220kV VPH-Kemar#2 | 12:58 (04.08.2020) | 18:31 (04.08.2020) | Tripped
13 | 400kV UPCL-Hassan#1 | 11:09 (04.08.2020) | 16:42 (04.08.2020) | O/O on O/V
14 | 220kV Ambewadi-NPH#1 | 11:09 (04.08.2020) | 16:42 (04.08.2020) | Tripped
15 | 220kV Bajpe-Kemar | 13:59 (04.08.2020) | 19:06 (04.08.2020) | Tripped
16 | 220kV Ambewadi-Xeldom | 14:36 (04.08.2020) | 15:39 (04.08.2020) | Tripped
17 | 220kV SGS-Sirsi#1 | 22:43 (04.08.2020) |  | Tripped
18 | 220kV SGS-Sirsi#2 | 17:24 (04.08.2020) |  | Tripped
19 | 220kV VPH-Kemar#2 | 18:32 (04.08.2020) |  | Tripped
20 | ICT-1 @ Jagalur | 17:53 (04.08.2020) |  | O/O on O/V