## M.I Gen & lines-04-09-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-09-04
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08)
14 | UPCL: U2 | 01:10 (04.08.2020) |  | O/O-RSD
15 | UPCL: U1 | 11:59 (03.08.2020) |  | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
5 | 400kV BPS-Jagalur#1 | 00:50 (18.08.2020) |  | O/O on O/V
6 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
7 | 400kV UPCL-Hassan#2 | 22:34 (30.08.2020) |  | O/O on O/V
8 | 220kV SMG-A'Hally | 08:36 (01.09.2020) | 13:15 (04.09.2020) | O/O on L/C | 4 DAYS
9 | 220kV Ambewadi-NPH#1 | 22:37 (02.09.2020) | 16:32 (04.09.2020) | Tripped
10 | 220kV Ambewadi-NRN#1&#2 | 08:14 (04.09.2020) | 21:50 (04.09.2020) | O/O on L/C
11 | 315MVA ICT-2 @ UPCL | 09:45 (04.09.2020) |  | O/O on L/C
12 | 220kV Varahi-SMG#1 | 09:50 (04.09.2020) | 13:47 (04.09.2020) | O/O on L/C
13 | 220kV Ngjhari-Hubli#2 | 10:28 (04.09.2020) | 16:22 (04.09.2020) | O/O on L/C
14 | 400kV BTPS-JSW | 11:09 (04.09.2020) |  | O/O on L/C
15 | 220kV Sedam-RTPS#1 | 01:00 (04.09.2020) | 01:14 (04.09.2020) | Tripped
16 | 220kV Sirsi-Hubli#1 | 12:49 (04.09.2020) | 19:30 (04.09.2020) | Tripped
17 | 400kV NLM-TGP | 14:43 (04.09.2020) |  | O/O on O/V
18 | 400kV TGP-Hassan | 20:33 (04.09.2020) | 21:18 (04.09.2020) | Tripped
19 | 220kV Ambewadi-NRN#2 | 18:02 (04.09.2020) |  | Tripped
20