## M.I Gen & lines-04-10-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-10-04
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
3 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
4 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD LATER ON AOH
5 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
6 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
7 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
8 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
9 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
10 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
11 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020)
12 | YTPS: U1 | 12:18 (10.09.2020) |  | O/O - RSD LATER ON AOH FROM (30.09.2020)
13 | UPCL :U1 | 11:59 (12.09.2020) |  | O/O -RSD LATER ON O/O DUE TO STEAM LEAKAGE FROM 08:58 HRS ( 05.10.2020)
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
5 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V
6 | 220kV Raichur-Jurala#1&#2 | 05:53 (30.09.2020) |  | O/O on L/C
7 | 400kV UPCL-Hassan#1 | 22:46 (01.10.2020) |  | O/O on O/V
8 | 220kV Nelamangala-K.B.cross | 08:00 (04.10.2020) | 10:45 (04.10.2020) | O/o on LC
9 | 400kV GTR-Kaiga#2 | 23:37 (03.10.2020) |  | O/o on O/V
10 | 220kV Lingasugur Station | 15:51 (04.10.2020) | 16:04 (04.10.2020) | Bus dead
11 | 220kV G B Nur-Hiriyur#1 | 10:46 (04.10.2020) | 15:50 (04.10.2020) | Tripped
12 | 220kV Begur-D Bpura | 11:38 (04.10.2020) | 12:33 (04.10.2020) | Tripped
13 | 220kV Kolar-Kolar(PGCIL)#1&#2 | 11:53 (04.10.2020) | 12:52 (04.10.2020) | Tripped
14 | 220kV Peenya-S'pura | 16:22 (04.10.2020) | 18:25 (04.10.2020) | Tripped
15 | 220kV Belgaum-Narendra#1 | 18:56 (04.10.2020) | 20:21 (04.10.2020) | Tripped