## M.I Gen & lines-04-11-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-11-04
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
3 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
4 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
5 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
6 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
7 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
8 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD later on AOH from( 02.11.2020)
9 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020)
10 | RTPS: U1 | 16:34 ( 12.10.2020) |  | O/O- RSD
11 | BTPS: U3 | 13:15 ( 12.10.2020) |  | O/O- RSD
12 | BTPS: U1 | 00:35 (14.10.2020) | 14:48 (04.11.2020) | O/O - RSD
13 | BTPS: U1 | 01:03 (05.11.2020) |  | O/O - Generator Protection Operated
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C
2 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C
3 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
4 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V
5 | 400kV Kaiga-Guttur #2 | 19:08 (29.10.2020) |  | Tripped
6 | 400kV NLM-Mysore#2 | 10:42 (03.11.2020) | 17:22 (04.11.2020) | O/O on L/C
7 | 220kV Kadra-Karwar#1 | 14:30 (03.11.2020) |  | Tripped
8 | 400kV NRN-Guttur#2 | 23:11 (03.11.2020) |  | Tripped on O/V
9 | 400kV NL-TGP#1 | 01:15 (04.11.2020) | 07:29 (04.11.2020) | O/O on O/V
10 | 400kV Doni-GTR#1 | 11:14 (04.11.2020) |  | O/O on L/C
11 | 220kV Kadra-Karwar#2 | 10:15 (04.11.2020) | 16:09 (04.11.2020) | O/O on L/C
12 | 220kV VPH-SMG#1 | 10:06 (04.11.2020) | 14:42 (04.11.2020) | O/O on L/C
13 | 220kV VPH-Kemar#2 | 11:14 (04.11.2020) | 13:58 (04.11.2020) | O/O on L/C
14 | 220kV Bidnal-Tadas#2 | 12:44 (04.11.2020) | 15:25 (04.11.2020) | O/O on L/C
15 | 220kV SGS-SMG#4 | 13:08 (04.11.2020) | 15:20 (04.11.2020) | O/O on L/C
16 | 220kV VPH-Kemar#1 | 15:09 (04.11.2020) | 16:30 (04.11.2020) | O/O on L/C
17 | 220kV M L Pura-Kudachi | 16:16 (04.11.2020) | 18:41 (04.11.2020) | Tripped
18 | 400kV NL-TGP | 17:39 (04.11.2020) |  | O/O on P/R
19
20
21
22
23
24
25
26
27
28
29
30
Note on C36: Author: