## M.I Gen & lines-05-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-05
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE LATER ON RSD FROM (31.01.2021)
5 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
6 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD LATER ON AOH
7 | UPCL: U2 | 13:02 (04.02.2021) |  | O/O RSD
8 | RTPS: U7 | 04:10 (06.02.2021) |  | O/O TURBINE BEARING TEMP HIGH
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 220KV-JURALA - RAICHUR_KA-1 | 06:00 (20.01.2021) |  | O/O on L/C
3 | 220KV-JURALA - RAICHUR_KA-2 | 06:00 (20.01.2021) |  | O/O on L/C
4 | 220kV Lingapur-BMM Ispat | 09:39 (05.02.2021) | 13:34 (05.02.2021) | O/O on L/C
5 | 220kV Hassan-CML | 11:20 (05.02.2021) | 13:42 (05.02.2021) | O/O on L/C
6 | 220kV Hoody-HSR | 11:28 (05.02.2021) | 14:52 (05.02.2021) | Tripped
7 | 220kv Hubli-NPH # 2 | 12:04 (05.02.2021) | 15:39 (05.02.2021) | O/O on L/C
8 | 500MVA ICT -1 | 08:44 (05.02.2021) | 09:16 (05.02.2021) | O/O on L/C
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29