## M.I Gen & lines-06-01-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-01-06
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | RTPS: U6 | 10:24 (06.07.2020) | 17:30 (06.07.2020) | O/O-RSD later on AOH from( 02.11.2020)
4 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
6 | RTPS: U1 | 20:21 (08.12.2020) | 20:40 (06.01.2021) | O/O- RSD
7 | RTPS: U4 | 00:39 (09.12.2020) | 23:25 (06.01.2021) | O/O- RSD
8 | RTPS: U2 | 01:50 (09.12.2020) | 09:47 (06.01.2021) | O/O- RSD
9 | RTPS: U7 | 22:47 (08.12.2020) |  | O/O-RSD later on AOH from( 22.12.2020)
10 | RTPS: U5 | 11:41 (10.12.2020) |  | O/O- RSD
11 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE
12 | YTPS: U1 | 20:08 (04.01.2021) |  | O/O BOILER TUBE LEKAGE
13 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
14 | RTPS: U4 | 23:25 (06.01.2021) |  | O/O LOSS OF FUEL
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-KAIGA - GUTTUR-2 | 21:45 (04.01.2021) |  | O/O on O/V
3 | 400KV-UPCL - HASSAN-1 | 20:49 (05.01.2021) |  | O/O on O/V
4 | 220kV Hubli-NPH#2 | 01:41 (05.01.2021) | 17:14 (06.01.2021) | Tripped
5 | 400kV GTR-JSW | 10:14 (06.01.2021) | 13:17 (06.01.2021) | O/O on L/C
6 | 220kV TKR-A'Halli#1 | 10:15 (06.01.2021) | 18:36 (06.01.2021) | O/O on L/C
7 | 220kV NRN-M K Hubli#2 | 11:45 (06.01.2021) | 12:17 (06.01.2021) | O/O on L/C
8 | 220kV Hubli-NPH#1 | 12:11 (06.01.2021) | 17:08 (06.01.2021) | O/O on L/C
9 | 220kV NLM-Nittur | 15:46 (06.01.2021) | 23:18 (06.01.2021) | Tripped
10 | 220kV Dabaspet-Kadur | 17:22 (06.01.2021) | 18:43 (06.01.2021) | Tripped
11 | 220kV Nittur-Arasikere | 18:07 (06.01.2021) | 18:25 (06.01.2021) | Tripped
12 | 220kV Kustagi-Lingasugur | 18:54 (06.01.2021) | 19:32 (06.01.2021) | Tripped
13 | 220kV NLM-Dabaspet | 19:27 (06.01.2021) | 21:43 (06.01.2021) | O/O on L/C
14 | 220kV Gadag-Doni | 22:12 (06.01.2021) |  | Tripped
15 | 400kV NLM-TGP | 22:36 (06.01.2021) |  | O/O on O/V
16
17
18
19
20
21
22
23
24
25
26
27
28
29