## M.I Gen & lines-06-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-06
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE LATER ON RSD FROM (31.01.2021)
5 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
6 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD LATER ON AOH
7 | UPCL: U2 | 13:02 (04.02.2021) |  | O/O RSD
8 | RTPS: U7 | 04:10 (06.02.2021) | 10:03 (06.02.2021) | O/O TURBINE BEARING TEMP HIGH
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 220KV-JURALA - RAICHUR_KA-1 | 06:00 (20.01.2021) |  | O/O on L/C
3 | 220KV-JURALA - RAICHUR_KA-2 | 06:00 (20.01.2021) |  | O/O on L/C
4 | 220kV Hootagalli-Kadakola line | 07:10 (06.02.2021) | 18:25 (06.02.2021) | O/O on L/C
5 | 220kV narendra-Ghataprabha#1 | 10:16 (06.02.2021) | 18:11 (06.02.2021) | O/O on L/C
6 | 220kV Yarandahalli-Hosur | 10:10 (06.02.2021) | 17:52 (06.02.2021) | O/O on L/C
7 | 110kV Konaje-Manjeshwar | 11:17 (06.02.2021) | 13:28 (06.02.2021) | O/O on L/C
8 | 220kV NPH-Hubli#1 | 11:57 (06.02.2021) | 16:03 (06.02.2021) | O/O on L/C
9 | 220kV Narendra-ML pura#1 | 14:40 (06.02.2021) | 00:32 (07.02.2021) | Tripped
10 | 400kV Nelamangala-Mysore#2 | 18:02 (06.02.2021) | 19:02 (06.02.2021) | Tripped
11 | 400kV Nelamangala-Hassan | 18:03 (06.02.2021) | 18:47 (06.02.2021) | Tripped
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28