## M.I Gen & lines-06-03-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-03-06
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | BTPS: U3 | 13:06 (03.03.2021) | 06:45 (06.03.2021) | O/O BOILER TUBE LEAKAGE
5 | RTPS: U2 | 23:00 (04.03.2021) |  | O/O BOILER TUBE LEAKAGE
6 | BTPS: U2 | 08:06 (05.03.2021) |  | O/O TURBINE SIDE PROBLEM
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped
4 | 220kV Kadkola-K'pet | 06:57 (06.03.2021) | 11:36 (06.03.2021) | O/O on L/C
5 | 220kV Lingapur-Guddadahalli | 06:45 (06.03.2021) | 07:30 (06.03.2021) | O/O on L/C
6 | 220kV Ambewadi-NRN#1&#2 | 08:04 (06.03.2021) | 17:18 (06.03.2021) | O/O on L/C
7 | 500mva Hoody ICT-2 | 10:29 (06.03.2021) | 18:58 (06.03.2021) | O/O on L/C
8 | 220kV Kemar-Varahi#3 | 10:45 (06.03.2021) | 16:07 (06.03.2021) | O/O on L/C
9 | 220kV Kadur-Dabaspet | 11:21 (06.03.2021) | 12:57 (06.03.2021) | O/O on L/C
10 | 220kV GTR-C'Durga | 11:25 (06.03.2021) | 12:30 (06.03.2021) | O/O on L/C
11 | 220kV Sirsi-Hubli#1 | 11:40 (06.03.2021) | 13:25 (06.03.2021) | O/O on L/C
12 | 220kV Hootagally-Vajamangala | 11:56 (06.03.2021) | 12:10 (06.03.2021) | O/O on L/C
13 | 220kV NRN-M L Pura#1 | 12:36 (06.03.2021) | 13:05 (06.03.2021) | O/O on L/C
14 | 220kV NPH-Hubli#3 | 12:59 (06.03.2021) | 13:25 (06.03.2021) | Tripped
15 | 400kV BPS-Pavagada#1 | 13:36 (06.03.2021) | 14:40 (06.03.2021) | Tripped
16 | 220kV Hoody-Begur | 13:36 (06.03.2021) | 17:36 (06.03.2021) | Tripped
17 | 220kV Hubli-Sirsi#2 | 13:47 (06.03.2021) |  | Tripped
18 | 220kV NPH/Hubli/Haveri Station | 14:45 (06.03.2021) | 15:29 (06.03.2021) | Bus dead
19 | 220kV NPH/Hubli/Haveri Station | 14:45 (06.03.2021) | 15:13 (06.03.2021) | Bus dead
20 | 220kV NPH/Hubli/Haveri Station | 14:45 (06.03.2021) | 15:25 (06.03.2021) | Bus dead
21 | 220kV NRN-Bidnal | 14:40 (06.03.2021) |  | Tripped
22