## M.I Gen & lines-06-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-06
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | RTPS: U4 | 15:11 (06.04.2021) |  | O/O BOILER TUBE LEAKAGE
5
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped
4 | 400KV-BTPS - JINDAL-1 | 12:53 (28.03.2021) |  | O/O on L/C
5 | 400KV-GUTTUR - JINDAL-1 | 12:54 (28.03.2021) |  | O/O on L/C
6 | 220kV NPH-Bidnal | 15:29 (05.04.2021) | 12:34 (06.04.2021) | Tripped
7 | 220kV Sedam-RTPS#1 | 17:28 (05.04.2021) | 13:28 (06.04.2021) | Tripped
8 | 220KV-REGULAPADU - ALIPUR-1 | 10:10 (06.04.2021) | 14:27 (06.04.2021) | O/O on L/C
9 | 400KV-HOODY - DEVANAHALLI-2 | 11:55 (06.04.2021) | 20:38 (06.04.2021) | O/O on L/C
10 | 220kV SMG-SGS#4 | 10:01 (06.04.2021) | 12:13 (06.04.2021) | Tripped
11 | 220kV Kadur-Dabaspet | 10:11 (06.04.2021) | 17:31 (06.04.2021) | O/O on L/C
12 | 220kV Varahi-Kemar | 10:22 (06.04.2021) | 13:49 (06.04.2021) | O/O on L/C
13 | 220kV M L Pura-NRN#2 | 11:36 (06.04.2021) | 12:23 (06.04.2021) | Tripped
14 | 220kV RTPS-Mallat | 12:20 (06.04.2021) | 12:56 (06.04.2021) | Tripped
15 | 220kV Belgaum-Chikkodi#1 | 12:05 (06.04.2021) | 17:42 (06.04.2021) | O/O on L/C
16 | 220kV NLM-Peenya#3 | 12:53 (06.04.2021) | 15:13 (06.04.2021) | O/O on L/C
17 | 220kV Hubli-Sirsi#1 | 14:38 (06.04.2021) | 18:58 (06.04.2021) | Tripped
18 | 220kV Gadag-Harthi#1&#2 | 17:54 (06.04.2021) | 18:15 (06.04.2021) | O/O on L/C
19
20
21
22
23
24
25
26
27
28
29