## M.I Gen & lines-06.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 06.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS : U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
2 | BTPS : U1 | 20:17 (28.02.2020) |  | O/O - RSD
3 | BTPS : U2 | 15:02 (21.03.2020) |  | O/O - RSD
4 | BTPS : U3 | 13:15 (06.04.2020) |  | O/O - RSD
5 | RTPS : U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | UPCL : U1 | 12:30 (30.04.2020) |  | O/O - RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Shahbad-Gulbarga | 19:58 (18.04.2020) |  | Tripped
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 400kV Pavgada-Mysore | 10:23 (29.04.2020) |  | O/O on L/C
9 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
10 | 400kV RTPS-Mehboobnagar | 10:36 (03.05.2020) |  | Tripped
11 | 220kV Dhoni-Gadag#2 | 18:48 (03.05.2020) | 11:15(03.05.2020) | Tripped
12 | 220kV Ambewadi-Narendra #2 | 14:43(05.05.2020) | 15:50(05.05.2020) | Tripped
13 | 315MVA ICT-3@ Talguppa | 09:51(06.05.2020) | 18:14(06.05.2020) | O/O on L/C
14 | 220kV Dhoni-Gadag#1 | 09:54(06.05.2020) | 17:51(06.05.2020) | O/O on L/C
15 | 220kV VPH-Kemar#1 | 10:37(06.05.2020) | 13:45(06.05.2020) | O/O on L/C
16 | 220kV Hubli-NRN#2 | 13:25(06.05.2020) | 18:44(06.05.2020) | Tripped
17 | 220kV Kadkola-K'Pet | 17:20(06.05.2020) | 17:38(06.05.2020) | Tripped
18 | 220kV Hiriyur-Thalak | 17:46(06.05.2020) | 21:42(06.05.2020) | Tripped
19 | 220kV Dhoni-Halwarthy#2 | 18:58(06.05.2020) |  | Tripped
20 | 220kV Lingasugur-Shahpur | 21:29(06.05.2020) | 21:53(06.05.2020) | Tripped