## M.I Gen & lines-06-05-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-05-06
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U8 | 15:28 (03.05.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
4 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
5 | 400kV NLM-TGP | 13:49 (04.05.2021) | 16:47 (06.05.2021) | Tripped
6 | 400kV GTR-BTPS | 13:57 (04.05.2021) | 18:10 (06.05.2021) | Tripped
7 | 400kV NRN-GTR#2 | 18:02 (04.05.2021) |  | O/O on O/V
8 | 220kV Davangere-Honnali | 22:10 (05.05.2021) | 15:30 (06.05.2021) | Tripped
9 | 220kV SGS-Sirsi #1 &2 | 22:54 (05.05.2021) | 12:10 (06.05.2021) | Tripped
10 | 400KV-UPCL - HASSAN-1 | 08:58 (06.05.2021) | 15:16 (06.05.2021) | O/O on L/C
11 | 220kV SGS-TGP | 02:30 (06.05.2021) | 03:30 (06.05.2021) | Tripped
12 | 220kV VPH-SMG#3 | 08:58 (06.05.2021) | 16:19(06.05.2021) | O/O on L/C
13 | 220kV NRN-M K Hubli#1 | 10:07 (06.05.2021) | 14:23 (06.05.2021) | O/O on L/C
14 | 220kV Savadatti-M L Pura | 12:47 (06.05.2021) | 14:29 (06.05.2021) | Tripped
15 | 220kV M L Pura-NRN#2 | 19:48 (06.05.2021) | 20:15 (06.05.2021) | Tripped
16 | 220kV M L Pura-NRN#1 | 19:48 (06.05.2021) | 20:20 (06.05.2021) | Tripped
17
18
19
20
21
22
23
24
25
26
27
28
29