## M.I Gen & lines-06-12-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-12-06
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD later on AOH from( 02.11.2020)
4 | BTPS: U3 | 13:15 ( 12.10.2020) |  | O/O- RSD
6 | UPCL: U1 | 20:55 ( 07.11.2020) |  | O/O- RSD
7 | UPCL: U2 | 00:09 (08.11.2020) |  | O/O- RSD
8 | YTPS: U1 | 05:32 (03.12.2020) |  | O/O BOILER TUBE LEAKAGE
9 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C
2 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C
3 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped(Faulty)
4 | 400kV Kaiga-Guttur #2 | 07:50 (06.12.2020) |  | Tripped
5 | 400kV JSWEL-BPS-2 | 06:27 (27.11.2020) | 22:10 (06.12.2020) | O/O on emergency due to SF6 gas pressure low
6 | 400kV JSWEL-BPS#1 | 13:16 (29.11.2020) |  | Tripped
7 | 400kV UPCL-Hassan#1 | 23:34 (04.12.2020) | 08:09 (06.12.2020) | O/O on O/V
8 | 400kV UPCL-Hassan#2 | 00:11 (04.12.2020) | 04:42 (06.12.2020) | O/O on O/V
9 | 400kV BPS-Pavagada #2 | 02:08 (05.12.2020) |  | O/O on O/V
10 | 400kV BPS-YTPS#1 | 19:52 (05.12.2020) |  | Tripped
11 | 220kV Bidnal-Harthi# 2 | 06:20 (06.12.2020) | 13:26 (06.12.2020) | Tripped
12 | 220kV G'Prabha-Chikkodi | 07:08 (06.12.2020) | 18:58 (06.12.2020) | o/o on LC
13 | 220kV A'wadi-Ponda # 2 | 07:39 (06.12.2020) | 17:43 (06.12.2020) | Tripped
14 | 220KV Pavagada-Madhugiri # 2 | 14:52 (06.12.2020) | 16:05 (06.12.2020) | o/o on LC
16 | 220kV Belgaum-Nar # 1 | 20:22 (06.12.2020) | 07:46 (06.12.2020) | O/O on O/V
17 | 220kV Belgaum- Chikkodi # 1 | 20:24 (06.12.2020) | 06:16 (06.12.2020) | O/O on O/V
18 | 400kV Guttur-Nar # 2 | 20:42 (06.12.2020) | 07:12 (06.12.2020) | O/O on O/V
20 | 400kV NLM-Talaguppa | 23:38 (06.12.2020) | 06:38 (06.12.2020) | O/O on O/V
21
22
23
24
25
26
27
28
29
30
31