## M.I Gen & lines-07-05-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-05-07
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U8 | 15:28 (03.05.2021) | 08:26 (08.05.2021) | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
4 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
5 | 400kV NRN-GTR#2 | 18:02 (04.05.2021) |  | O/O on O/V
6 | 220kV GTPB-NRN#1 | 06:01 (07.05.2021) | 07:56 (07.05.2021) | Tripped
7 | 220kV Bidnal-Harthi#1 | 06:39 (07.05.2021) | 09:07 (07.05.2021) | Tripped
8 | 220kV Hubli-NRN#2 | 06:48 (07.05.2021) | 12:46 (07.05.2021) | Tripped
9 | 220kV Belgaum-NRN#2 | 07:07 (07.05.2021) | 08:00 (07.05.2021) | Tripped
10 | 220kV Hubli-NRN#1 | 07:38 (07.05.2021) | 08:18 (07.05.2021) | Tripped
11 | 220kV Ambewadi-NPH#1 | 09:44 (07.05.2021) | 12:49 (07.05.2021) | Tripped
12 | 220kV Ambewadi-Xeldom | 09:44 (07.05.2021) | 10:45 (07.05.2021) | Tripped
13 | 500MVA ICT-2 @ Doni | 10:23 (07.05.2021) | 12:52 (07.05.2021) | Tripped
14 | 315MVA ICT@ BTPS | 12:46 (07.05.2021) | 14:08 (07.05.2021) | Tripped
15 | 220kV A'Hally-SMG | 15:11 (07.05.2021) | 16:05 (07.05.2021) | Tripped
16 | 220kV Shantigrama-SMG | 18:47 (07.05.2021) |  | Tripped
17 | 220kV Chickamngalore-SMG | 19:38 (07.05.2021) | 21:33 (07.05.2021) | Tripped
18 | 220kV Kadur-Dabaspet | 21:43 (07.05.2021) | 22:15 (07.05.2021) | Tripped
19
20
21
22
23
24
25
26
27
28
29