## M.I Gen & lines-07-12-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-12-07
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD later on AOH from( 02.11.2020)
4 | BTPS: U3 | 13:15 ( 12.10.2020) |  | O/O- RSD
6 | UPCL: U1 | 20:55 ( 07.11.2020) |  | O/O- RSD
7 | UPCL: U2 | 00:09 (08.11.2020) |  | O/O- RSD
8 | YTPS: U1 | 05:32 (03.12.2020) |  | O/O BOILER TUBE LEAKAGE
9 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
10 | RTPS: U1 | 10:12 (07.12.2020) |  | O/O FLAME FAILURE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C
2 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C
3 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped(Faulty)
4 | 400kV Kaiga-Guttur #2 | 07:50 (06.12.2020) |  | Tripped
5 | 400kV JSWEL-BPS#1 | 13:16 (29.11.2020) |  | Tripped
6 | 400kV BPS-Pavagada #2 | 02:08 (05.12.2020) |  | O/O on O/V
7 | 400kV BPS-YTPS#1 | 19:52 (05.12.2020) |  | Tripped
8 | 400KV-NELAMANGALA - HASSAN-1 | 12:15 (07.12.2020) | 17:20 (07.12.2020) | Relay testing
9 | 400KV-KAIGA - NARENDRA-1 | 14:17 (07.12.2020) |  | O/O on L/C
10 | 400KV-DONI - MUNIRABAD | 09:32 (07.12.2020) | 18:34 (07.12.2020) | O/O on L/C
11 | 400KV-GUTTUR - JINDAL-1 | 21:27 (07.12.2020) |  | Tripped
12 | 400KV-UPCL - HASSAN-1 | 02:06 (07.12.2020) | 06:32 (07.12.2020) | O/O on O/V
13 | 400KV-NELAMANGALA - TALGUPPA-1 | 23:17 (07.12.2020) |  | O/O on O/V
14 | 400kV Gooty-NLM | 07:28 (07.12.2020) | 18:25 (07.12.2020) | O/O on L/C
16 | 220kV SGS-SMG#3 | 11:31 (07.12.2020) | 12:14 (07.12.2020) | O/O on L/C
17 | 400KV-NELAMANGALA -Hassan-1 | 12:15 (07.12.2020) | 17:19 (07.12.2020) | O/O on L/C
18 | 220kV Humnabad-Gulbarga#1 | 14:20 (07.12.2020) | 17:55 (07.12.2020) | O/O on L/C
20 | 220kV Ghataprbha-Kudachi | 06:16 (07.12.2020) |  | O/O on L/C
21
22
23
24
25
26
27
28
29
30
31