## M.I Gen & lines-08-05-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-05-08
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVE SHUTDOWN
4 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
4 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
5 | 400kV NRN-GTR#2 | 18:02 (04.05.2021) |  | O/O on O/V
6 | 220kV Shantigrama-SMG | 18:47 (07.05.2021) |  | Tripped
7 | 220kV Haveri-Guttur 1 & 2 | 00:09 (08.05.2021) | 11:07 (08.05.2021) | Tripped
8 | 220kV Kemar-MSEZ | 16:03 (08.05.2021) | 16:40 (08.05.2021) | Tripped
9 | 220kV Belgaum-Chikkodi 1 & 2 | 19:15 (08.05.2021) | 03:14 (09.05.2021) | Tripped
10 | 220kV L'sugur-Shahpur | 13:16 (08.05.2021) | 13:38 (08.05.2021) | Tripped
11 | 220kV Varahi-Kemar 1 | 15:31 (08.05.2021) | 16:29 (08.05.2021) | Tripped
12 | 220kV Varahi-Kemar 2 | 15:31 (08.05.2021) | 16:35 (08.05.2021) | Tripped
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29