## M.I Gen & lines-09-01-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-01-09
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | RTPS: U7 | 22:47 (08.12.2020) |  | O/O-RSD later on AOH from( 22.12.2020)
6 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE
7 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
8 | UPCL: U2 | 22:56 (07.01.2021) |  | O/O- RSD
9 | RTPS: U1 | 20:47 (08.01.2021) |  | O/O BOILER SIDE PROBLEM
10 | RTPS: U6 | 17:30 (06.01.2021) |  | O/O BOILER TUBE LEAKAGE
11 | BTPS: U3 | 11:57 (09.01.2021) | 15:38 (09.01.2021) | O/O FLAME FAILUR
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-UPCL - HASSAN-1 | 20:49 (05.01.2021) |  | O/O on O/V
3 | 400KV-GUTTUR - JINDAL-1 | 01:47 (07.01.2021) |  | O/O on O/V
4 | 400KV-NARENDRA - GUTTUR-2 | 22:52 (07.01.2021) | 07:08 (09.01.2021) | O/O on O/V
5 | 220kV SMG-A'HALLI | 14:52 (07.01.2021) | 13:30 (09.01.2021) | O/O on L/C
6 | 220kV SMG-K B Crss | 15:38 (07.01.2021) | 14:15 (09.01.2021) | O/O on L/C
7 | 220kv A'wadi-Xeldam | 14:25 (08.01.2021) | 17:25 (09.01.2021) | Tripped
8 | 220kV Chikkodi-Talangade | 17:52 (08.01.2021) | 12:48 (09.01.2021) | Tripped
9 | 220kV Lingsugur-RTPS#1 | 03:20 (09.01.2021) | 12:02 (09.01.2021) | Tripped
10 | 220kV S'Hally-Harohally | 09:29 (09.01.2021) | 17:17 (09.01.2021) | O/O on L/C
11 | 220kV Bidnal-NPH | 09:17 (09.01.2021) | 16:18 (09.01.2021) | O/O on L/C
12 | 220kV NPH-Hubli#3 | 09:19 (09.01.2021) | 16:14 (09.01.2021) | O/O on L/C
13 | 220kV VPH-Kemaar#2 | 09:33 (09.01.2021) | 12:19 (09.01.2021) | O/O on L/C
14 | 400kV ICT-1 @ Kolar | 11:13 (09.01.2021) | 11:19 (09.01.2021) | O/O on L/C
15 | 220kV NRN-M K Hubli#2 | 11:14 (09.01.2021) | 17:50 (09.01.2021) | O/O on L/C
16
17
18
19
20
21
22
23
24
25
26
27
28
29