## M.I Gen & lines-09.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 09.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 12:30 (30.05.2020) |  | O/O - RSD
2 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL: U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS: U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS: U5 | 15:02(05.05.2020) |  | O/O -BTL
7 | YTPS: U1 | 07:56 (10.05.2020) |  | COOLING WATER PUMP PROBLEM
8 | RTPS: U7 | 21:34 (05.05.2020) |  | O/O - BTL
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV SHAHBAD-GULBARGA | 19:58 (18.04.2020) |  | Tripped
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
9 | 220kV THALAK-JAGALUR#2 | 19:26 (08.05.2020) |  | O/O on L/C
10 | 400KV PAVAGADA-MYSORE | 10:23 (29.04.2020) | 15:20 (09.05.2020) | O/O on O/V
11 | 400kV UPCL-HASSAN#2 | 18:15 (08.05.2020) |  | O/O on O/V
12 | 220kVLINGASUGUR-SHAHPUR | 18:49 (08.05.2020) | 15:50(09.05.2020) | Tripped
13 | 220kV NLM-PEENYA#1 | 06:29(09.05.2020) | 08:09 (09.05.2020) | Tripped
14 | 220kV NLM-PEENYA#2 | 06:29(09.05.2020) | 08:56 (09.05.2020) | Tripped
15 | 220KV HARTHI-BIDNAL#2 | 06:51 (09.05.2020) | 18:45 (09.05.2020) | TRIPPED
16 | 220kVSMG-VPH#2 | 14:59(09.05.2020) | 16;39(09.05.2020) | TRIPPED
17 | 220kVSHIRALKOPPA-RANEBENNUR | 13:06(09.05.2020) | 14:46(09.05.2020) | TRIPPED
18 | 220kV HASSAN-CHIKAMAGALUR | 17:43(09.05.2020) | 01:28(10.05.2020) | TRIPPED
19 | 220kVSEDAM-RTPS | 22:22(09.05.2020) | 04:43(10.05.2020) | TRIPPED