## M.I Gen & lines-09-09-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-09-09
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
4 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
5 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
6 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
7 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
8 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
9 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
10 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
11 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
12 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08)
14 | UPCL: U2 | 01:10 (04.08.2020) | 07:15 (09.09.2020) | O/O-RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
5 | 400kV BPS-Jagalur#1 | 00:50 (18.08.2020) |  | O/O on O/V
6 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
7 | 400kV UPCL-Hassan#2 | 20:26 (02.08.2020) | 08:23 (09.09.2020) | O/O on O/V
8 | 400kV TGP-Hassan#1 | 16:13 (06.09.2020) | 11:30 (09.09.2020) | Tripped
9 | 220kV Kudugi-G M Navar#3 | 19:02 (07.09.2020) |  | Tripped
10 | 220kV Hubli-Sirsi #1 | 15:44 (08.09.2020) | 17:54 (09.09.2020) | Tripped
11 | ICT-3 @ Hoody | 01:19 (09.09.2020) | 15:56 (09.09.2020) | Tripped
12 | 400kV Kaiga-GTR#2 | 01:32 (09.09.2020) | 09:50 (09.09.2020) | O/O on O/V
13 | 220kV GTR-Neelgunda | 02:00 (09.09.2020) | 17:07 (09.09.2020) | Tripped
14 | 220kV Madhugiri-V'pura | 04:19 (09.09.2020) | 08:44 (09.09.2020) | Tripped
15 | 220kV Chikkodi-Mudsangi | 11:25 (09.09.2020) | 18:40 (09.09.2020) | O/O on L/C
16 | 220kV GTR-DVG#1 | 12:05 (09.09.2020) | 18:16 (09.09.2020) | O/O on L/C
17 | 220kV L'pura-Kushtagi | 15:29 (09.09.2020) | 18:02 (09.09.2020) | Tripped
18 | 220kV M L Pura-Savadatti | 21:57 (09.09.2020) |  | Tripped
19 | 400kV NLM-Hiriyur#2 | 23:47 (09.09.2020) | 07:11 (10.09.2020) | O/O on O/V
20 | 220kV Doni-Guddadahalli | 20:49 (09.09.2020) |  | Tripped