## M.I Gen & lines-10-01-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-01-10
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
4 | RTPS: U7 | 22:47 (08.12.2020) |  | O/O-RSD later on AOH from( 22.12.2020)
6 | UPCL: U1 | 00:55 (02.01.2021) |  | O/O VIBRATION IN TURBINE
7 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
8 | UPCL: U2 | 22:56 (07.01.2021) |  | O/O- RSD
9 | RTPS: U1 | 20:47 (08.01.2021) |  | O/O BOILER SIDE PROBLEM
10 | RTPS: U6 | 17:30 (06.01.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-UPCL - HASSAN-1 | 20:49 (05.01.2021) |  | O/O on O/V
3 | 400KV-GUTTUR - JINDAL-1 | 01:47 (07.01.2021) |  | O/O on O/V
4 | 400KV-KAIGA - GUTTUR-2 | 00:13 (10.01.2021) |  | O/O on O/V
5 | 400KV-NARENDRA - GUTTUR-2 | 21:59 (10.01.2021) |  | O/O on O/V
6 | 400KV/220KV KAIGA-ICT - 2 | 00:13 (10.01.2021) | 00:47 (10.01.2021) | O/O on L/C
7 | 400KV-NELAMANGALA - TALGUPPA-1 | 22:01 (10.01.2021) |  | O/O on O/V
8 | 220KkV NPH-Bidnal | 07:04 (10.01.2021) | 07:15 (10.01.2021) | O/O on L/C
9 | 220KkV NPH-Hubli#3 | 07:17 (10.01.2021) | 17:43 (10.01.2021) | O/O on L/C
10 | 220kV S'hally-H'hally | 09:35 (10.01.2021) | 17:10 (10.01.2021) | O/O on L/C
11 | 220kV Ambewadi-NPH#1 | 22:05 (10.01.2021) | 06:35 (11.01.2021) | O/O on O/V
12 | 220kV Hubli-NPH#1 | 22:06 (10.01.2021) | 06:35 (11.01.2021) | O/O on O/V
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29