## M.I Gen & lines-10-05-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-05-10
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVE SHUTDOWN
4 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
4 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
5 | 400kV NRN-GTR#2 | 18:02 (04.05.2021) |  | O/O on O/V
6 | 400KV/220KV NELAMANGALA-ICT - 1/2/3 | 21:09 (10.05.2021) | 21:44 (10.05.2021) | Tripped
7 | 400KV/220KV NELAMANGALA-ICT - 1/2/3 | 21:09 (10.05.2021) | 21:45 (10.05.2021) | Tripped
8 | 220kV NPH-Hubli#3 | 13:01 (10.05.2021) | 15:41 (10.05.2021) | Tripped
9 | 220kV NPH Station | 13:02 (10.05.2021) | 13:17 (10.05.2021) | Bus dead
10 | 220kV Haveri-Guttur | 13:38 (10.05.2021) | 17:57 (10.05.2021) | Tripped
11 | 220kV SGS-SMG#1 | 14:09 (10.05.2021) | 16:06 (10.05.2021) | Tripped
12 | 220kV SMG-Varahi#2 | 16:24 (10.05.2021) | 18:56 (10.05.2021) | Tripped
13 | 220kV Bidnal-Harthi#2 | 16:13 (10.05.2021) | 18:18 (10.05.2021) | Tripped
14 | 220kV S'Halli-S'pura | 16:46 (10.05.2021) | 16:58 (10.05.2021) | Tripped
15 | 220kV Thalak-Hiriyur | 16:46 (10.05.2021) |  | Tripped
16 | 400kV NLM-Hiriyur#2 | 18:04 (10.05.2021) |  | Tripped
17 | 220kV Hubli-Bidnal#1 | 18:47 (10.05.2021) | 07:50 (11.05.2021) | O/O on L/C
18 | 220kV Hubli-Sirsi#2 | 18:06 (10.05.2021) |  | Tripped
19
20
21
22
23
24
25
26
27
28
29