## M.I Gen & lines-10-10-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-10-10
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
3 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD LATER ON AOH FROM (01.10.2020)
4 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
5 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
6 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
7 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
8 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
9 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020)
10 | YTPS: U1 | 12:18 (10.09.2020) | 21:07 (10.10.2020) | O/O - RSD LATER ON AOH FROM (30.09.2020)
11 | UPCL :U1 | 11:59 (12.09.2020) | 08:40 (07.10.2020) | O/O- RSD LATER SHUT DOWN ,DUE TO HEAVY GAS LEAKAGE
12 | RTPS :U1 | 18:09 (09.10.2020) | 21:58 (09.10.2020) | O/O- TRIPPED & LOSS OF FUEL
13 | RTPS :U1 | 23:09 (09.10.2020) | 02:55 (10.10.2020) | O/O- TRIPPED & CLASS A PROTECTION OPERATED
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Bagalkote-Vajramatti#1&#2 | 13:54 (09.08.2019) |  |  | No.319 Tower collapsed
2 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
3 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
5 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
6 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V
7 | ICT-2 @ 400kv RTPS | 09:06 (07.10.2020) | 17:01 (10.10.2020) | o/o on LC & CHARGED OK
8 | 400kv Guttur- Indel | 02:22 (09.10.2020) |  | Tripped
9 | 400 kv JSW-BPS | 12:17 (09.10.2020) |  | o/o on LC
10 | 400kV Hoody-D'hally HW park 1 | 02:00 (10.10.2020) | 07:24 (10.10.2020) | Tripped on O/V
11 | 220kV NPH-Ambewadi 1 | 02:24 (10.10.2020) | 05:16 (10.10.2020) | Tripped
12 | 220kV UPCL-Kemar 1 | 09:52 (10.10.2020) | 14:52 (10.10.2020) | O/o on E/L/C
13 | 220kV SGS-Sirsi 1 | 10:55 (10.10.2020) | 13:45 (10.10.2020) | o/o on LC
14 | 220kV Smg-C'maglur | 12:29 (10.10.2020) | 12:55 (10.10.2020) | Tripped
15 | 220kV Lingapura-BTPS | 13:27 (10.10.2020) | 16:38 (10.10.2020) | Tripped
16 | 220kV Bidnal-Savadatti | 15:35 (10.10.2020) |  | Tripped
17 | 220kV Sedum-Shahpur | 12:50 (10.10.2020) | 13:09 (10.10.2020) | Tripped
18 | 220kV Hassan-C'maglur | 13:11 (10.10.2020) | 14:15 (10.10.2020) | Tripped
19 | 220kV Kushalnagar-Bastipura 2 | 11:39 (10.10.2020) | 16:33 (10.10.2020) | Tripped
20 | 220kV Kushalnagar-Bastipura 1 | 11:56 (10.10.2020) | 16:33 (10.10.2020) | o/o on LC