## M.I Gen & lines-11-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-11
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
5 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
6 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD LATER ON AOH
8 | RTPS: U7 | 02:16 (08.02.2021) |  | O/O VIBRATION HIGH
9 | RTPS: U6 | 23:04 (09.02.2021) |  | O/O TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 220KV-RTPS-Lingasugur | 09:32 (10.02.2021) | 16:46 (11.02.2021) | O/O on L/C
3 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
4 | 400/220kV somanahalli ICT-1 | 11:00 (11.02.2021) |  | O/O on L/C
5 | 400kV UPCL-Hassan-1 | 17:43 (11.02.2021) |  | Tripped
6 | 400/220kVKAIGA-ICT-2 | 11:31 (11.02.2021) | 16:14 (11.02.2021) | O/O on L/C
7 | 220kVThallak-Hiriyur | 06:47 (11.02.2021) |  | O/O on L/C
8 | 220kV VPH-SMG-3 | 09:55 (11.02.2021) | 13:41 (11.02.2021) | O/O on L/C
9 | 220kV Dabaspet-Kadur | 10:20 (11.02.2021) | 12:13 (11.02.2021) | O/O on L/C
10 | 220kV Kushalnagar-Mysore | 10:33 (11.02.2021) | 13:22 (11.02.2021) | O/O on L/C
11 | 400kV NLM-HYR-2 | 12:30 (11.02.2021) | 17:53 (11.02.2021) | O/O on L/C
17 | 220kV Sedam-Humnabad | 19:30 (10.02.2021) | 13:45 (11.02.2021) | Tripped
19
20
21
22
23
24
25
26
27
28