## M.I Gen & lines-11-03-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-03-11
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4 | BTPS: U3 | 10:30 (11.03.2021) |  | O/O BOILER TUBE LEAKAGE
5 | UPCL: U2 | 09:05 (12.03.2021) |  | O/O GAS LEAKAGE
6 | RTPS: U5 | 21:51 (08.03.2021) |  | O/O BOILER TUBE LEAKAGE
7 | UPCL: U1 | 22:04 (09.03.2021) |  | O/O DUE TO HYDROGEN LEAKAGE IN GENERATOR
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped
4 | 220kV Hubli-Sirsi#2 | 13:47 (06.03.2021) | 10:10 (11.03.2021) | Tripped
5 | 220kV Harti-Gadag#1 | 04:00 (07.03.2021) | 12:30 (11.03.2021) | Tripped
6 | 220kV CHIKKODI TALANGADE | 09:05 (10.03.2021) |  | O/O on L/C
7 | 220kV JURALA-RAICHUR 1&2NLINE | 10:27 (10.03.2021) | 10:37 (11.03.2021) | O/O on L/C
8 | 220kV KADUR-DABASPET | 08:56 (11.03.2021) | 09:23 (11.03.2021) | O/O on L/C
9 | 220kV KADKOLAR-K'PET | 09:32 (11.03.2021) | 10:02 (11.03.2021) | O/O on L/C
10 | 220kV Varahi-SMG#3 | 10:00 (11.03.2021) | 10:47 (11.03.2021) | Tripped
11 | 220kV VAJRAMATI-BAGALKOTE | 11:30 (11.03.2021) | 11:37 (11.03.2021) | Tripped
12 | 220kV GUTTUR-NEELGUNDA | 14:52 (11.03.2021) | 18:16 (11.03.2021) | Tripped
13 | 220kV MANYATHA-YNK | 14:07 (11.03.2021) | 15:52 (11.03.2021) | Tripped
14 | 400kV Dhoni-Guttur | 15:31 (09.03.2021) | 15:00 (11.03.2021) | Tripped
15 | 220kV SEDAM-RTPS#1 | 14:21 (11.03.2021) | 15:47 (11.03.2021) | Tripped
16
17
18
19
20
21
22
23
24
25
26
27
28
16 | 220kV K'HALLY-SMG | 15:11 (11.03.2021) | 18:12 (11.03.2021) | O/O on L/C