## M.I Gen & lines-11.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 11.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS : U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
2 | BTPS : U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | RTPS : U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
4 | UPCL : U1 | 12:30 (30.04.2020) |  | O/O - RSD
5 | UPCL : U2 | 01:36 (07.05.2020) |  | O/O - RSD
6 | YTPS : U1 | 07:56 (10.05.2020) | 07:17 (11.05.2020) | O/O - cooling water pump problem
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Shahbad-Gulbarga | 19:58 (18.04.2020) |  | Tripped
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
9 | 220kV Thalak-Jagalur#2 | 19:26 (08.05.2020) |  | O/O on L/C
10 | 220kV SGS-S'Koppa | 09:45 (11.05.2020) | 13:33 (11.05.2020) | Tripped
11 | 220kV SGS-TGP | 11:11 (11.05.2020) | 14:55 (11.05.2020) | Tripped
12 | 220kV Lingapura-Kushtagi | 10:55 (11.05.2020) | 13:55 (11.05.2020) | O/O on L/C
13 | 220kV VPH-Kemar#1 | 11:29 (11.05.2020) | 12:20 (11.05.2020) | Tripped