## M.I Gen & lines-11-05-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-05-11
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVE SHUTDOWN
4 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS: U6 | 20:44 (11.05.2021) |  | O/O RESERVE SHUTDOWN
7 | TALCHER ST2: U3 | 08:02 (11.05.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
4 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
5 | 400kV NRN-GTR#2 | 18:02 (04.05.2021) |  | O/O on O/V
6 | 220kV Thalak-Hiriyur | 16:46 (10.05.2021) | 13:30 (11.05.2021) | Tripped
7 | 400kV NLM-Hiriyur#2 | 18:04 (10.05.2021) |  | Tripped
8 | 220kV Hubli-Sirsi#2 | 18:06 (10.05.2021) |  | Tripped
9 | 220kV NPH-Hubli#3 | 10:19 (11.05.2021) | 15:23 (11.05.2021) | O/O onL/C
10 | 400kV Mylasandra-S'hally | 13:42 (11.05.2021) | 15:14 (11.05.2021) | Tripped
11 | 220kV STRP-SMG | 14:40 (11.05.2021) | 15:34 (11.05.2021) | Tripped
12 | 220kV SMG-Honnali | 16:26 (11.05.2021) | 16:57 (11.05.2021) | Tripped
13 | 400kV BPS-YTPS | 20:03 (11.05.2021) |  | Tripped
14 | 220kV Lingapur-BTPS | 20:22 (11.05.2021) | 01:13 (12.05.2021) | Tripped
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29