## M.I Gen & lines-11-10-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-10-11
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
3 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD LATER ON AOH FROM (01.10.2020)
4 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
5 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
6 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
7 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
8 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
9 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020)
10 | YTPS: U1 | 14:45 (11.10.2020) | 17:50 (11.10.2020) | O/O TRIPPED BETWEEN & DRUM LEVEL HIGH
11 | UPCL :U1 | 11:59 (12.09.2020) | 19:54 (11.10.2020) | O/O- RSD LATER SHUT DOWN ,DUE TO HEAVY GAS LEAKAGE 08:40 (07.10.2020)
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Bagalkote-Vajramatti#1&#2 | 13:54 (09.08.2019) |  |  | No.319 Tower collapsed
2 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
3 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
5 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
6 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V
7 | 220kV Bidnal-Savadatti | 15:35 (10.10.2020) | 14:30 (11.10.2020) | Tripped
8 | 400kv Guttur- Indel | 02:22 (09.10.2020) |  | Tripped
9 | 400 kv JSW-BPS | 12:17 (09.10.2020) |  | o/o on LC
10 | 220kV Kadra-Karwar#2 | 02:29 (11.10.2020) | 13:12 (11.10.2020) | Tripped
11 | 220kV Kadra-Karwar#1 | 02:31 (11.10.2020) | 03:02 (11.10.2020) | Tripped
12 | 220kV NRN-M K Hubli#1&#2 | 08:06 (11.10.2020) | 12:31 (11.10.2020) | O/O on L/C
13 | 220kV STRP-TGP | 10:21 (11.10.2020) | 16:30 (11.10.2020) | O/O on L/C
14 | 220kV NLM-nitttur | 10:28(11.10.2020) | 14:15(11.10.2020) | O/O on L/C
15 | ICT-3 @ Nelamangala | 11:14(11.10.2020) | 16:23(11.10.2020) | O/O on L/C
16 | 220kV Narendra-Belgaum#1 | 15:02(11.10.2020) | 08:05(12.10.2020) | O/O on O/V
17 | 220kV Belgaum-Chikkodi#1 | 16:14(11.10.2020) | 08:06(12.10.2020) | O/O on O/V
18 | 220kV MLPura-Athani | 20:00(11.10.2020) | 22:22(11.10.2020) | Tripped