## M.I Gen & lines-12-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-12
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
5 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
6 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD LATER ON AOH
7 | RTPS: U7 | 02:16 (08.02.2021) |  | O/O VIBRATION HIGH
8 | UPCL: U2 | 10:08 (12.02.2021) | 18:06 (12.02.2021) | O/O TRIPPED
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400/220kV somanahalli ICT-1 | 11:00 (11.02.2021) |  | O/O on L/C
4 | 400kV UPCL-Hassan-1 | 17:43 (11.02.2021) | 13:31 (12.02.2021) | Tripped
5 | 220kVThallak-Hiriyur | 06:47 (11.02.2021) | 15:41 (12.02.2021) | O/O on L/C
6 | 220kV GTR-CTD | 08:55 (12.02.2021) | 12:05 (12.02.2021) | O/O on L/C
7 | 400kV -GTR-HYR -1 | 10:34 (12.02.2021) | 18:47 (12.02.2021) | O/O on L/C
8 | 220kV NAR-ML Pura-1 | 12:25 (12.02.2021) | 16:59 (12.02.2021) | O/O on L/C
9 | 220kV S'hally-Malur | 12:31 (12.02.2021) | 18:42. (12.02.2021) | Tripped
10 | 220kV -VPH-SMG -3 | 13:31 (12.02.2021) | 14:51 (12.02.2021) | Tripped
11
12
13
14
15
16
17
18
19
20
21
22