## M.I Gen & lines-12-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-12
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) | 05:43 (13.04.2021) | O/O - Generator Protection Operated
2 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
3 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
4
5
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Kadra-Karwar#1 | 09:44 (11.04.2021) | 12:12 (12.04.2021) | Tripped
4 | 220kV Savadatti-M L Pura | 16:33 (11.04.2021) |  | Tripped
5 | 220kV Kemar-MSEZ #2 line | 09:58 (12.04.2021) | 13:52 (12.04.2021) | O/O on LC
6 | 220kV Lingasur- Shikaripura line | 16:12 (12.04.2021) |  | O/O on LC
7 | 220kV SGS-S'koppa line | 20:01 (12.04.2021) | 20:46 (12.04.2021) | Tripped
8 | 220kV Ranebennur-S'koppa line | 19:06 (12.04.2021) | 21:00 (12.04.2021) | Tripped
9 | 110kV Konaje-Manjeswara line | 23:07 (12.04.2021) | 00:03 (12.04.2021) | Tripped
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29