## M.I Gen & lines-12.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 12.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS : U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
2 | BTPS : U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | RTPS : U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
4 | UPCL : U1 | 12:30 (30.04.2020) |  | O/O - RSD
5 | UPCL : U2 | 01:36 (07.05.2020) |  | O/O - RSD
6 | YTPS : U1 | 07:56 (10.05.2020) | 07:17 (11.05.2020) | O/O - cooling water pump problem
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Shahbad-Gulbarga | 19:58 (18.04.2020) |  | Tripped
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
9 | 220kV Thalak-Jagalur#2 | 19:26 (08.05.2020) |  | O/O on L/C
10 | 220kV VPH-Kemar#3 | 00:18(12.05.2020) | 12:33(12.05.2020) | Tripped
11 | 220kV Hiriyur-Hiriyur(PGCIL) | 06:50(12.05.2020) | 18:25(12.05.2020) | O/O on L/C
12 | 220kV Sedam-HBD#2 | 13:35(12.05.2020) | 16:12(12.05.2020) | O/O on L/C
13 | 220kV Neelgunda-GTR | 10:02(12.05.2020) | 14:06(12.05.2020) | Tripped
| 220kV Thalak-Chitradurga | 10:37(12.05.2020) | 18:54(12.05.2020) | Tripped
| 220kV SG-TGP | 11:37(12.05.2020) | 14:20(12.05.2020) | Tripped
| 220kV Ambewadi-Xeldom | 12:02(12.05.2020) | 13:08(12.05.2020) | Tripped
| 220kV Sedam-HBD#1 | 13:35(12.05.2020) | 15:54(12.05.2020) | O/O on L/C
| 220kV NRN-Belgaum#2 | 16:43(12.05.2020) | 17:37(12.05.2020) | Tripped