## M.I Gen & lines-12-05-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-05-12
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVE SHUTDOWN
4 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS: U6 | 20:44 (11.05.2021) |  | O/O RESERVE SHUTDOWN
7 | RTPS: U3 | 23:15 (12.05.2021) |  | O/O RESERVE SHUTDOWN
8 | RTPS: U7 | 22:41 (12.05.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Ambewadi-NPH#2 | 16:25 (21.04.2021) |  | O/O on L/C(15 DAYS)
4 | 220kV TKHally-Kanakapura | 09:15 (23.04.2021) |  | O/o on LC for 10 days
5 | 400kV NRN-GTR#2 | 18:02 (04.05.2021) |  | O/O on O/V
6 | 400kV NLM-Hiriyur#2 | 18:04 (10.05.2021) | 08:35 (12.05.2021) | Tripped
7 | 220kV Hubli-Sirsi#2 | 18:06 (10.05.2021) | 15:51 (12.05.2021) | Tripped
8 | 400kV BPS-YTPS | 20:03 (11.05.2021) | 14:10 (12.05.2021) | Tripped
9 | 400kV BTPS-Hiriyur#2 | 06:17 (12.05.2021) | 08:32 (12.05.2021) | Tripped
10 | 400kV Devanahalli-YNK | 08:35 (12.05.2021) |  | O/O on L/C
11 | 220kV Tumkur-A'hally | 10:26 (12.05.2021) | 16:00 (12.05.2021) | O/O on L/C
12 | 220kV Chikkodi-Mudsnagi | 10:37 (12.05.2021) | 18:35 (12.05.2021) | O/O on L/C
13 | 400kV Jagalur-BPS#1 | 11:22 (12.05.2021) | 15:10 (12.05.2021) | O/O on L/C
14 | 220kV Kadur-D'pet | 10:38 (12.05.2021) | 11:30 (12.05.2021) | Tripped
15 | 220kV Guttur-Haveri#1 | 11:24 (12.05.2021) | 17:19 (12.05.2021) | Tripped
16 | 220kV Hubli-Nagjhari#3 | 14:06 (12.05.2021) | 19:39 (12.05.2021) | Tripped
17 | 220kV Varahi-Kemar#1 | 18:16 (12.05.2021) | 19:31 (12.05.2021) | Tripped
18 | 400kV UPCL-Hassan#1 | 21:57 (12.05.2021) | 07:40 (13.05.2021) | O/O on O/V
19
20
21
22
23
24
25
26
27
28
29