## M.I Gen & lines-13-10-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-10-13
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
3 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
4 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
5 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
6 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
7 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
8 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
9 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020)
10 | RTPS: U1 | 16:34 ( 12.10.2020) |  | O/O- RSD
11 | BTPS: U3 | 13:15 ( 12.10.2020) |  | O/O- RSD
12 | UPCL: U2 | 23:58 ( 13.10.2020) |  | O/O- RSD
13 | BTPS: U1 | 00:35 (14.10.2020) |  | O/O - RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Bagalkote-Vajramatti#1&#2 | 13:54 (09.08.2019) |  | Tripped | No.319 Tower collapsed
2 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
3 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
5 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
6 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V
7 | 400kv Guttur- Jindal | 02:22 (09.10.2020) | 12:45 (13.10.2020) | Tripped
8 | 220kV STRP-SMG | 09:52 (13.10.2020) | 15:45 (13.10.2020) | O/O on L/C
9 | 220kV Lingasgur-Shahpur | 10:38 (13.10.2020) |  | Tripped
10 | 220kV SGS-TGP#1 | 11:39 (13.10.2020) | 14:18 (13.10.2020) | O/O on L/C
11 | 220kV Hubli-NRN#2 | 13:01 (13.10.2020) | 15:31 (13.10.2020) | Tripped
12 | 220kV K Hubli-NRN#2 | 17:05 (13.10.2020) | 19:24 (13.10.2020) | Tripped
13 | 220kV Bidnal-Haveri | 18:17 (13.10.2020) |  | Tripped