## M.I Gen & lines-14-02-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-02-14
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD Later on Tripped On unit auxillary transformer(10.11.2020)
3 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
5 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
6 | RTPS: U5 | 12:37 (12.01.2021) |  | O/O RSD LATER ON AOH
7 | RTPS: U7 | 02:16 (08.02.2021) |  | O/O VIBRATION HIGH
8 | BTPS: U3 | 15:28 (14.02.2021) | 03:12 (15.02.2021) | O/O ROTOR EARTH FAULT
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped
2 | 400KV-Kolar-S'hally | 16:15 (10.02.2021) |  | O/O on L/C
3 | 400/220kV somanahalli ICT-1 | 11:00 (11.02.2021) |  | O/O on L/C
4 | 220kV GB Nur-Hiriyur PGCIL lines 1&2 | 09:22 (13.02.2021) |  | O/O on L/C
5 | 220kV SGS-SMG#4 | 05:57 (14.02.2021) | 11:11 (14.02.2021) | Tripped
6 | 400kV Devanahally-NLM | 08:56 (14.02.2021) | 19:38 (14.02.2021) | O/o on LC
7 | 400kV RTPS-MBD | 08:29 (14.02.2021) | 18:54 (14.02.2021) | O/o on LC
8 | 400kV Devanahally-YLK | 09:13 (14.02.2021) | 20:06 (14.02.2021) | O/o on LC
9 | 220kV NRN-M L Pura#1 | 10:50 (14.02.2021) | 16:34 (14.02.2021) | O/o on LC
10 | 220kV NRN-Ambewadi#2 | 11:07 (14.02.2021) | 17:04 (14.02.2021) | O/o on LC
11 | 220kV SMG-A'Hally | 13:38 (14.02.2021) | 14:16 (14.02.2021) | Tripped
12 | 220kV BGM-Chikkodi#2 | 14:46 (14.02.2021) | 20:17 (14.02.2021) | Tripped
13 | 220kV Dabaspet-Kadur | 18:37 (14.02.2021) | 21:30 (14.02.2021) | Tripped
14 | 220kV Sedam-Tandur | 23:20 (14.02.2021) | 01:50 (14.02.2021) | Tripped | IDLE CHARGED
15 | 220kV Ranebennur-Balligavi | 23:45 (14.02.2021) |  | Tripped
16 | 220kV Sirsi-Hubli#2 | 23:48 (14.02.2021) |  | Tripped
17
18
19
20
21
22