## M.I Gen & lines-14-04-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-04-14
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U1 | 11:06 (05.01.2021) |  | O/O EARTH FAULT
3 | RTPS: U3 | 03:14 (14.04.2021) | 09:09 (14.04.2021) | O/O MAINSTEAM TEMP HIGH
4
5
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV NLM-Hassan | 16:26 (05.03.2021) |  | Tripped | LOC- 795 ( INSULATOR FLASH OVER) WORK UNDER PROGRESS
3 | 220kV Savadatti-M L Pura | 16:33 (11.04.2021) |  | Tripped
4 | 220kV Lingasur- Shikaripura line | 16:12 (12.04.2021) |  | O/O on LC
5 | 220kV Sedam-Shapur | 13:32 (13.04.2021) |  | Tripped
6 | 220kV Haveri- NRN | 15:38 (13.04.2021) |  | Tripped
7 | 220kV A'wadi-Ponda | 17:19 (13.04.2021) |  | Tripped
8 | 220kV Kemar-Puttur-2 | 17:18 (13.04.2021) | 11:16 (14.04.2021) | Tripped
9 | 400KV-NELAMANGALA - TALGUPPA-1 | 14:56 (14.04.2021) | 17:26 (14.04.2021) | Tripped
10 | 400KV-GOOTY - RAICHUR#1 | 21:21 (14.04.2021) | 22:37 (14.04.2021) | Tripped
11 | 400KV-GOOTY - RAICHUR#2 | 21:21 (14.04.2021) | 22:43 (14.04.2021) | Tripped
12 | 400KV-GUTTUR - BTPS-1 | 22:16 (14.04.2021) |  | Tripped
13 | 220kV Kustagi-L'pura | 09:08 (14.04.2021) | 10:30 (14.04.2021) | Tripped
14 | 220kV Kustagi-Linggasugur | 09:08 (14.04.2021) | 10:35 (14.04.2021) | Tripped
15 | 220kV NRN-Bidnal | 10:24 (14.04.2021) | 13:57 (14.04.2021) | O/O on LC
16 | 220kV SGS-SMG#4 | 11:07 (14.04.2021) | 13:19 (14.04.2021) | Tripped
17 | 220kV SGS-SG#4 | 14:25 (14.04.2021) | 15:32 (14.04.2021) | Tripped
18 | 220kV ADPH-B'kote#1 | 14:23 (14.04.2021) | 19:12 (14.04.2021) | Tripped
19 | 220kV SMG-DVG | 15:52 (14.04.2021) | 18:06 (14.04.2021) | Tripped
20 | 220kV Kemar-Bajpe#1 | 18:57 (14.04.2021) | 22:30 (14.04.2021) | Tripped
21 | 220kV Maduvanahally-C R Nagar | 20:02 (14.04.2021) | 21:15 (14.04.2021) | Tripped
22 | 220kV Harthi-Bidnal#2 | 21:31 (14.04.2021) |  | Tripped
23
24
25
26
27
28
29