## M.I Gen & lines-14-08-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 14-08-2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 13:15 (06.04.2020) |  | O/O - RSD
2 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
3 | YTPS: U1 | 12:08 (03.06.2020) |  | O/O - RSD
4 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
5 | BTPS: U1 | 13:45 (02.06.2020) |  | O/O - RSD
6 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
7 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - STEAM TURBINE LEAKAGE
8 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
9 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
10 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-Boiler tube leakage
11 | RTPS: U1 | 11:50 (02.07.2020) |  | O/O-RSD
12 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
14 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD
15 | UPCL: U2 | 01:10 (04.08.2020) |  | O/O-RSD
16 | UPCL: U1 | 11:59 (03.08.2020) |  | O/O TO ACCOMMODATE RE POWER
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
5 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
6 | 400kV Guutur-Narendra #2 | 00:15 (25.07.2020) |  | O/O on O/V
7 | 400kV UPCL-Hassan #1 | 21:56 (06.08.2020) |  | o/o on ov
8 | 400kV NRN-Guttur#1 | 11:00 (11.08.2020) |  | O/O on L/C
9 | 220kV Sedam-RTPS#2 | 19:11 (12.08.2020) |  | Tripped
10 | 220kV Gadag-Bagalkote #1 | 11:36 (13.08.2020) | 13:19 (14.08.2020) | O/O on L/C
11 | 220kV sindanoor-lingapur | 00:25 (14.08.2020) | 00:52 (14.08.2020) | Tripped
12 | 220kV sedam-shahpur | 05:48(14.08.2020) | 06:13(4.08.2020) | Tripped
13 | 400kV UPCL-Hassan #1 | 17:38(13.08.2020) | 06:54(14.08.2020) | O/O on O/V
14 | 400kV NLMG-TLGP | 16:04(14.08.2020) | 16:15(14.08.2020) | Tripped
15 | 220kV NLM-Nittur | 10:49(14.08.2020) | 13:33(14.08.2020) | O/O on L/C
16 | 220kV NPH-Ambewadi #17#2 | 10:21(14.08.2020) | 15:14(14.08.2020) | O/O on L/C
17 | 400kV Kaiga-GTR #2 | 23:05(14.08.2020) |  | O/O on O/V
18 | 220kV NRN-Ambewadi #1 | 21:45(14.08.2020) | 02:27(15.08.2020) | O/O on O/V
19 | 220kVKemar-UPCL #1 | 08:10(14.08.2020) | 14:35(14.08.2020) | Tripped
20 | 220kV SS-SMG #4 | 11:59(14.08.2020) | 15:08(14.08.2020) | Tripped