## M.I Gen & lines-14-10-2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2020-10-14
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
2 | RTPS: U7 | 07:34 (02.06.2020) |  | O/O - RSD
3 | BTPS: U2 | 16:31 (02.06.2020) |  | O/O - RSD
4 | RTPS: U4 | 06:46 (11.06.2020) |  | O/O - RSD
5 | RTPS: U2 | 11:39 (19.05.2020) |  | O/O - RSD
6 | RTPS: U5 | 16:34 (10.06.2020) |  | O/O-RSD
7 | RTPS: U3 | 22:34 (26.06.2020) |  | O/O-RSD
8 | RTPS: U6 | 10:24 (06.07.2020) |  | O/O-RSD
9 | YTPS: U2 | 11:56 (18.07.2020) |  | O/O-RSD Later on GT problem from(27.08.2020)
10 | RTPS: U1 | 16:34 ( 12.10.2020) |  | O/O- RSD
11 | BTPS: U3 | 13:15 ( 12.10.2020) |  | O/O- RSD
12 | UPCL: U2 | 23:58 ( 13.10.2020) |  | O/O- RSD
13 | UPCL: U1 | 10:42 ( 14.10.2020) |  | O/O- RSD
13 | BTPS: U1 | 00:35 (14.10.2020) |  | O/O - RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Bagalkote-Vajramatti#1&#2 | 13:54 (09.08.2019) |  | Tripped | No.319 Tower collapsed | 220kV Bagalkote-Vajramatti#1&#2 | 1354/09.08.19 |  | Tripped | No.319 Tower collapsed
2 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped |  | 220kV B.Bageadi-G M Navar#2 | 1705/04.03 |  | Tripped
3 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months | 400kV Hoody-Nelamangala/YLK | 1818/1845(05.03) |  | O/O on L/C | 3 Months
4 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months | 220kV Kudugi-G M Navar#4 | 2106/28.08 |  | Tripped
5 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped |  | 400kV BPS-Jagalur#2 | 2354/26.09 |  | O/O on O/V
6 | 400kV BPS-Jagalur#2 | 23:54 (26.09.2020) |  | O/O on O/V |  | 220kV Lingasgur-Shahpur | 1038/13.10 | 1210 | Tripped
7 | 400kv UPCL-HASSAN#2 | 01:14 (13.10.2020) |  | Tripped |  | 220kV Bidnal-Haveri | 1817/13.10 | 1123 | Tripped
8 | 220kV Kudugi-G M Navar#5 | 05:55 (14.10.2020) |  | Tripped |  | 220kV Kudugi-G M Navar#5 | 0555 |  | Tripped
9 | 220kV Lingasgur-Shahpur | 10:38 (14.10.2020) | 12:10 (14.10.2020) | Tripped |  | 220kV Tubinkere-Bastipura | 0820 | 1045 | O/O on L/C
10 | 220kV TUBINKERE-BASTIPURA | 08:20 (14.10.2020) | 10:45(14.10.2020) | O/O on L/C |  | 220kV Hassan-Chickmangalore | 1109 | 1500 | O/O on L/C
11 | 220kV TUBINKERE-K-PET | 09:10 (14.10.2020) | 10:25 (14.10.2020) | O/O on L/C |  | 220kV Kushtagi-Lingasugur | 1217 | 1238 | Tripped
12 | 220KV HASSAN-CHIKAMAGALUR | 11:09 (14.10.2020) | 15:00 (14.10.2020) | O/O on L/C |  | 220kV Hoody-Railway#1 | 1415 |  | Tripped
13 | 220kV Bidnal-Haveri | 18:17 (13.10.2020) | 11:23 (14.10.2020) | Tripped |  | 400kV UPCL-Hassan#2 | 0114 |  | O/O on O/V
14 | 220KV KUSTAGI LINGASUGUR | 12:17 (14.10.2020) | 12:38 (14.10.2020) | Tripped |  | 220kV Tubinker-k'pet | 0910 | 1025 | O/O on L/C
15 | 220KV HOODY-RAILWAY#1 | 14:15 (14.10.2020) |  | Tripped