## M.I Gen & lines-15.05.2020
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON 15.05.2020
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL : U1 | 12:30 (30.04.2020) |  | O/O - RSD
2 | BTPS : U3 | 13:15 (06.04.2020) |  | O/O - RSD
3 | UPCL : U2 | 01:36 (07.05.2020) |  | O/O - RSD
4 | YTPS : U2 | 12:45 (08.11.2018) |  | O/o - Turbine High Vibration
5 | RTPS : U8 | 07:56 (28.04.2020) |  | O/O - Generator Protection Operated
6 | RTPS : U5 | 06:20 (13.05.2020) | 05:17 (16.05.2020) | O/O - Boiler Tube Leakage
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV B.Bageadi-G M Navar#2 | 17:05 (04.03.2020) |  | Tripped
2 | 400kV Hoody-Nelamangala/YLK | 18:18 (05.03.2020) |  | O/O on L/C | 3 Months
3 | 400kV Hoody-Nelamangala/YLK | 18:45 (05.03.2020) |  | O/O on L/C | 3 Months
4 | 220kV Sedam-Tandur | 07:10 (06.04.2020) |  | O/O on L/C
5 | 220kV Shahpur-Gulbarga | 17:15 (17.04.2020) |  | Tripped
6 | 220kV Shahbad-Gulbarga | 19:58 (18.04.2020) |  | Tripped
7 | 220kV Kudugi-G M Navar#3 | 07:04 (19.04.2020) |  | Tripped
8 | 220kV Gbidnoor-HRYR #2 | 15:40 (01.05.2020) |  | O/O on OV
9 | 220kV Ambewadi-NPH#1 | 18:31 (14.05.2020) | 14:11 (15.05.2020) | Tripped
10 | 220kV Shahpur-RTPS | 19:27 (14.05.2020) | 13:13 (15.05.2020) | Tripped
11 | 220kV SGS-SMG#1 | 00:18 (15.05.2020) | 02:14 (15.05.2020) | Tripped
12 | 220kV SGS-Talguppa#1&#2 | 00:33 (15.05.2020) 02:15 (15.05.2020) | 12:08 (15.05.2020) | Tripped
13 | 220kV SGS-Sirsi#1&#2 | 00:46 (15.05.2020) 00:56 (15.05.2020) | 02:47 (15.05.2020) | Tripped
14 | 400kV NLM-TGP | 02:01 (15.05.2020) | 08:32 (15.05.2020) | Tripped
15 | 220kV Bidnal-Hubli#1 | 02:37 (15.05.2020) | 10:00 (15.05.2020) | Tripped
16 | 220kV NRN-HBL#2 | 02:37 (15.05.2020) | 12:12 (15.05.2020) | Tripped
17 | 220kV Hoody-Begur | 09:19 (15.05.2020) | 13:50 (15.05.2020) | Tripped
18 | 220kV NPH-Ambewadi#2 | 17:29 (15.05.2020) |  | Tripped
19 | 315MVA ICT-2 @ GTR | 19:25 (15.05.2020) |  | O/O on L/C
20 | 220kV NRN-HBL#1 | 19:03 (15.05.2020) |  | Tripped